## Sheet1
Timestamp | Analyzer ID | Module | Error Type | Severity | Spare Part Replaced | Technician
2025-07-24 05:57 | EC-93810-001 | Temperature Fault | Temperature Fault | Medium | thermostat | Eduardo Galeano
2025-05-11 06:27 | EC-93810-001 | Read Error | Read Error | Low | None | Jose Marti
2025-05-11 12:16 | EC-93810-001 | Read Error | Read Error | Low | None | Julio Cortázar
2025-06-11 12:32 | EC-93810-001 | Aspirate Fault | Aspirate Fault | Critical | plunger | Cesar Vallejo
2025-06-10 18:11 | EC-93810-001 | Aspirate Fault | Aspirate Fault | Critical | plunger | Roberto Bolaño
2025-05-11 19:52 | EC-93810-001 | Read Error | Read Error | Low | None | Cesar Vallejo
2025-06-10 14:42 | EC-93810-001 | Aspirate Fault | Aspirate Fault | Critical | plunger | Roberto Bolaño
2025-06-11 03:46 | EC-93810-001 | Aspirate Fault | Aspirate Fault | Critical | plunger | Julio Cortázar
2025-05-11 01:17 | EC-93810-001 | Read Error | Read Error | Low | None | Roberto Bolaño
2025-07-24 12:39 | EC-93810-001 | Temperature Fault | Temperature Fault | Medium | thermostat | Mario Vargas Llosa
2025-05-11 17:15 | EC-93810-001 | Read Error | Read Error | Low | None | Pablo Neruda
2025-07-24 06:49 | EC-93810-001 | Temperature Fault | Temperature Fault | Medium | thermostat | Isabel Allende
2025-05-11 19:39 | EC-93810-001 | Read Error | Read Error | Low | None | Eduardo Galeano
2025-06-11 03:24 | EC-93810-001 | Aspirate Fault | Aspirate Fault | Critical | plunger | Gabriel Garcia Marquez
2025-06-11 09:45 | EC-93810-001 | Aspirate Fault | Aspirate Fault | Critical | plunger | Gabriel Garcia Marquez
2025-05-11 18:59 | EC-93810-001 | Read Error | Read Error | Low | None | Eduardo Galeano
2025-07-24 16:59 | EC-93810-001 | Temperature Fault | Temperature Fault | Medium | thermostat | Roberto Bolaño
2025-07-24 01:33 | EC-93810-001 | Temperature Fault | Temperature Fault | Medium | thermostat | Eduardo Galeano
2025-07-24 23:28 | EC-93810-001 | Temperature Fault | Temperature Fault | Medium | thermostat | Jorge Luis Borges
2025-06-11 06:47 | EC-93810-001 | Aspirate Fault | Aspirate Fault | Critical | plunger | Cesar Vallejo
2025-06-11 09:20 | EC-93810-001 | Aspirate Fault | Aspirate Fault | Critical | plunger | Mario Vargas Llosa
2025-05-11 02:53 | EC-93810-001 | Read Error | Read Error | Low | None | Isabel Allende
2025-06-10 21:10 | EC-93810-001 | Aspirate Fault | Aspirate Fault | Critical | plunger | Julio Cortázar
2025-05-11 12:46 | EC-93810-001 | Read Error | Read Error | Low | None | Jorge Luis Borges
2025-07-24 17:41 | EC-93810-001 | Temperature Fault | Temperature Fault | Medium | thermostat | Jose Marti
2025-05-11 17:07 | EC-93810-001 | Read Error | Read Error | Low | None | Mario Vargas Llosa
2025-07-24 14:03 | EC-93810-001 | Temperature Fault | Temperature Fault | Medium | thermostat | Pablo Neruda
2025-06-11 09:29 | EC-93810-001 | Aspirate Fault | Aspirate Fault | Critical | plunger | Roberto Bolaño
2025-06-10 21:56 | EC-93810-001 | Aspirate Fault | Aspirate Fault | Critical | plunger | Jorge Luis Borges
2025-06-10 19:41 | EC-93810-001 | Aspirate Fault | Aspirate Fault | Critical | plunger | Isabel Allende
2025-06-11 04:31 | EC-93810-001 | Aspirate Fault | Aspirate Fault | Critical | plunger | Jorge Luis Borges
2025-07-24 15:57 | EC-93810-001 | Temperature Fault | Temperature Fault | Medium | thermostat | Cesar Vallejo
2025-07-24 15:35 | EC-93810-001 | Temperature Fault | Temperature Fault | Medium | thermostat | Roberto Bolaño
2025-07-24 11:21 | EC-93810-001 | Temperature Fault | Temperature Fault | Medium | thermostat | Isabel Allende
2025-06-10 18:34 | EC-93810-001 | Aspirate Fault | Aspirate Fault | Critical | plunger | Eduardo Galeano
2025-05-11 20:57 | EC-93810-001 | Read Error | Read Error | Low | None | Jorge Luis Borges
2025-05-11 18:55 | EC-93810-001 | Read Error | Read Error | Low | None | Julio Cortázar
2025-05-11 07:06 | EC-93810-001 | Read Error | Read Error | Low | None | Roberto Bolaño
2025-05-11 14:40 | EC-93810-001 | Read Error | Read Error | Low | None | Gabriel Garcia Marquez
2025-06-10 20:11 | EC-93810-001 | Aspirate Fault | Aspirate Fault | Critical | plunger | Gabriel Garcia Marquez
2025-05-11 06:56 | EC-93810-001 | Read Error | Read Error | Low | None | Gabriel Garcia Marquez
2025-07-24 04:48 | EC-93810-001 | Temperature Fault | Temperature Fault | Medium | thermostat | Roberto Bolaño
2025-05-11 04:33 | EC-93810-001 | Read Error | Read Error | Low | None | Pablo Neruda
2025-06-11 01:48 | EC-93810-001 | Aspirate Fault | Aspirate Fault | Critical | plunger | Roberto Bolaño
2025-06-11 09:51 | EC-93810-001 | Aspirate Fault | Aspirate Fault | Critical | plunger | Pablo Neruda
2025-06-10 16:47 | EC-93810-001 | Aspirate Fault | Aspirate Fault | Critical | plunger | Eduardo Galeano
2025-05-11 02:53 | EC-93810-001 | Read Error | Read Error | Low | None | Julio Cortázar
2025-05-11 21:59 | EC-93810-001 | Read Error | Read Error | Low | None | Cesar Vallejo
2025-06-10 17:02 | EC-93810-001 | Aspirate Fault | Aspirate Fault | Critical | plunger | Julio Cortázar
2025-06-11 08:00 | EC-93810-001 | Aspirate Fault | Aspirate Fault | Critical | plunger | Eduardo Galeano
2025-07-24 18:40 | EC-93810-001 | Temperature Fault | Temperature Fault | Medium | thermostat | Mario Vargas Llosa
2025-05-11 13:43 | EC-93810-001 | Read Error | Read Error | Low | None | Gabriel Garcia Marquez
2025-05-11 15:26 | EC-93810-001 | Read Error | Read Error | Low | None | Jose Marti
2025-05-11 08:00 | EC-93810-001 | Read Error | Read Error | Low | None | Jose Marti
2025-05-11 07:19 | EC-93810-001 | Read Error | Read Error | Low | None | Jorge Luis Borges
2025-05-11 15:02 | EC-93810-001 | Read Error | Read Error | Low | None | Jose Marti
2025-07-24 00:15 | EC-93810-001 | Temperature Fault | Temperature Fault | Medium | thermostat | Pablo Neruda
2025-06-10 19:26 | EC-93810-001 | Aspirate Fault | Aspirate Fault | Critical | plunger | Eduardo Galeano
2025-06-11 06:03 | EC-93810-001 | Aspirate Fault | Aspirate Fault | Critical | plunger | Pablo Neruda
2025-05-11 15:20 | EC-93810-001 | Read Error | Read Error | Low | None | Cesar Vallejo
2025-05-11 03:22 | EC-93810-001 | Read Error | Read Error | Low | None | Roberto Bolaño
2025-06-10 13:48 | EC-93810-001 | Aspirate Fault | Aspirate Fault | Critical | plunger | Mario Vargas Llosa
2025-05-11 14:35 | EC-93810-001 | Read Error | Read Error | Low | None | Mario Vargas Llosa
2025-06-10 14:29 | EC-93810-001 | Aspirate Fault | Aspirate Fault | Critical | plunger | Isabel Allende
2025-07-24 00:09 | EC-93810-001 | Temperature Fault | Temperature Fault | Medium | thermostat | Jorge Luis Borges
2025-06-11 09:03 | EC-93810-001 | Aspirate Fault | Aspirate Fault | Critical | plunger | Mario Vargas Llosa
2025-05-11 07:14 | EC-93810-001 | Read Error | Read Error | Low | None | Eduardo Galeano
2025-06-10 19:24 | EC-93810-001 | Aspirate Fault | Aspirate Fault | Critical | plunger | Julio Cortázar
2025-06-11 02:00 | EC-93810-001 | Aspirate Fault | Aspirate Fault | Critical | plunger | Jose Marti
2025-05-11 04:47 | EC-93810-001 | Read Error | Read Error | Low | None | Roberto Bolaño
2025-05-11 20:09 | EC-93810-001 | Read Error | Read Error | Low | None | Julio Cortázar
2025-06-11 03:56 | EC-93810-001 | Aspirate Fault | Aspirate Fault | Critical | plunger | Mario Vargas Llosa
2025-07-23 23:57 | EC-93810-001 | Temperature Fault | Temperature Fault | Medium | thermostat | Cesar Vallejo
2025-05-11 20:08 | EC-93810-001 | Read Error | Read Error | Low | None | Jorge Luis Borges
2025-07-24 13:21 | EC-93810-001 | Temperature Fault | Temperature Fault | Medium | thermostat | Isabel Allende
2025-06-10 15:13 | EC-93810-001 | Aspirate Fault | Aspirate Fault | Critical | plunger | Gabriel Garcia Marquez
2025-06-11 10:10 | EC-93810-001 | Aspirate Fault | Aspirate Fault | Critical | plunger | Jose Marti
2025-07-24 10:52 | EC-93810-001 | Temperature Fault | Temperature Fault | Medium | thermostat | Pablo Neruda
2025-07-24 20:23 | EC-93810-001 | Temperature Fault | Temperature Fault | Medium | thermostat | Mario Vargas Llosa
2025-07-24 20:25 | EC-93810-001 | Temperature Fault | Temperature Fault | Medium | thermostat | Mario Vargas Llosa
2025-05-11 16:42 | EC-93810-001 | Read Error | Read Error | Low | None | Gabriel Garcia Marquez
2025-06-10 19:18 | EC-93810-001 | Aspirate Fault | Aspirate Fault | Critical | plunger | Cesar Vallejo
2025-05-11 06:23 | EC-93810-001 | Read Error | Read Error | Low | None | Jose Marti
2025-05-11 14:09 | EC-93810-001 | Read Error | Read Error | Low | None | Mario Vargas Llosa
2025-06-11 11:24 | EC-93810-001 | Aspirate Fault | Aspirate Fault | Critical | plunger | Jorge Luis Borges
2025-06-11 08:22 | EC-93810-001 | Aspirate Fault | Aspirate Fault | Critical | plunger | Eduardo Galeano
2025-05-11 05:12 | EC-93810-001 | Read Error | Read Error | Low | None | Eduardo Galeano
2025-07-24 14:06 | EC-93810-001 | Temperature Fault | Temperature Fault | Medium | thermostat | Roberto Bolaño
2025-06-11 11:11 | EC-93810-001 | Aspirate Fault | Aspirate Fault | Critical | plunger | Isabel Allende
2025-05-11 16:25 | EC-93810-001 | Read Error | Read Error | Low | None | Gabriel Garcia Marquez
2025-07-24 21:46 | EC-93810-001 | Temperature Fault | Temperature Fault | Medium | thermostat | Julio Cortázar
2025-06-10 20:09 | EC-93810-001 | Aspirate Fault | Aspirate Fault | Critical | plunger | Jose Marti
2025-06-10 22:11 | EC-93810-001 | Aspirate Fault | Aspirate Fault | Critical | plunger | Jose Marti
2025-07-24 21:10 | EC-93810-001 | Temperature Fault | Temperature Fault | Medium | thermostat | Jose Marti
2025-06-10 13:56 | EC-93810-001 | Aspirate Fault | Aspirate Fault | Critical | plunger | Roberto Bolaño
2025-07-23 23:48 | EC-93810-001 | Temperature Fault | Temperature Fault | Medium | thermostat | Cesar Vallejo
2025-07-24 14:37 | EC-93810-001 | Temperature Fault | Temperature Fault | Medium | thermostat | Julio Cortázar
2025-05-11 15:13 | EC-93810-001 | Read Error | Read Error | Low | None | Roberto Bolaño
2025-06-11 03:14 | EC-93810-001 | Aspirate Fault | Aspirate Fault | Critical | plunger | Jorge Luis Borges
2025-05-11 02:27 | EC-93810-001 | Read Error | Read Error | Low | None | Cesar Vallejo
2025-05-11 23:38 | EC-93810-001 | Read Error | Read Error | Low | None | Pablo Neruda
2025-07-24 05:38 | EC-93810-001 | Temperature Fault | Temperature Fault | Medium | thermostat | Jose Marti
2025-05-11 06:35 | EC-93810-001 | Read Error | Read Error | Low | None | Gabriel Garcia Marquez
2025-05-11 13:36 | EC-93810-001 | Read Error | Read Error | Low | None | Julio Cortázar
2025-05-11 22:05 | EC-93810-001 | Read Error | Read Error | Low | None | Jorge Luis Borges
2025-06-10 21:59 | EC-93810-001 | Aspirate Fault | Aspirate Fault | Critical | plunger | Cesar Vallejo
2025-07-24 00:57 | EC-93810-001 | Temperature Fault | Temperature Fault | Medium | thermostat | Jose Marti
2025-05-11 06:51 | EC-93810-001 | Read Error | Read Error | Low | None | Gabriel Garcia Marquez
2025-06-10 19:43 | EC-93810-001 | Aspirate Fault | Aspirate Fault | Critical | plunger | Mario Vargas Llosa
2025-05-11 06:50 | EC-93810-001 | Read Error | Read Error | Low | None | Jorge Luis Borges
2025-05-11 09:17 | EC-93810-001 | Read Error | Read Error | Low | None | Isabel Allende
2025-05-11 02:19 | EC-93810-001 | Read Error | Read Error | Low | None | Gabriel Garcia Marquez
2025-06-11 11:24 | EC-93810-001 | Aspirate Fault | Aspirate Fault | Critical | plunger | Isabel Allende
2025-06-10 15:10 | EC-93810-001 | Aspirate Fault | Aspirate Fault | Critical | plunger | Pablo Neruda
2025-07-24 07:30 | EC-93810-001 | Temperature Fault | Temperature Fault | Medium | thermostat | Isabel Allende
2025-06-11 00:21 | EC-93810-001 | Aspirate Fault | Aspirate Fault | Critical | plunger | Jorge Luis Borges
2025-05-11 14:45 | EC-93810-001 | Read Error | Read Error | Low | None | Jose Marti
2025-07-24 18:42 | EC-93810-001 | Temperature Fault | Temperature Fault | Medium | thermostat | Cesar Vallejo
2025-06-11 12:52 | EC-93810-001 | Aspirate Fault | Aspirate Fault | Critical | plunger | Mario Vargas Llosa
2025-07-24 06:23 | EC-93810-001 | Temperature Fault | Temperature Fault | Medium | thermostat | Mario Vargas Llosa
2025-05-11 06:28 | EC-93810-001 | Read Error | Read Error | Low | None | Julio Cortázar
2025-05-11 14:23 | EC-93810-001 | Read Error | Read Error | Low | None | Gabriel Garcia Marquez
2025-07-24 14:20 | EC-93810-001 | Temperature Fault | Temperature Fault | Medium | thermostat | Gabriel Garcia Marquez
2025-05-11 19:16 | EC-93810-001 | Read Error | Read Error | Low | None | Jorge Luis Borges
2025-06-11 08:24 | EC-93810-001 | Aspirate Fault | Aspirate Fault | Critical | plunger | Cesar Vallejo
2025-07-24 07:39 | EC-93810-001 | Temperature Fault | Temperature Fault | Medium | thermostat | Pablo Neruda
2025-05-11 10:07 | EC-93810-001 | Read Error | Read Error | Low | None | Julio Cortázar
2025-05-11 06:27 | EC-93810-001 | Read Error | Read Error | Low | None | Jose Marti
2025-05-11 16:05 | EC-93810-001 | Read Error | Read Error | Low | None | Isabel Allende
2025-07-24 13:11 | EC-93810-001 | Temperature Fault | Temperature Fault | Medium | thermostat | Isabel Allende
2025-07-24 20:18 | EC-93810-001 | Temperature Fault | Temperature Fault | Medium | thermostat | Jose Marti
2025-05-11 02:51 | EC-93810-001 | Read Error | Read Error | Low | None | Pablo Neruda
2025-05-11 09:13 | EC-93810-001 | Read Error | Read Error | Low | None | Roberto Bolaño
2025-06-10 19:54 | EC-93810-001 | Aspirate Fault | Aspirate Fault | Critical | plunger | Pablo Neruda
2025-06-11 04:50 | EC-93810-001 | Aspirate Fault | Aspirate Fault | Critical | plunger | Julio Cortázar
2025-07-24 12:28 | EC-93810-001 | Temperature Fault | Temperature Fault | Medium | thermostat | Julio Cortázar
2025-05-11 03:10 | EC-93810-001 | Read Error | Read Error | Low | None | Jorge Luis Borges
2025-06-10 19:22 | EC-93810-001 | Aspirate Fault | Aspirate Fault | Critical | plunger | Jose Marti
2025-06-11 11:01 | EC-93810-001 | Aspirate Fault | Aspirate Fault | Critical | plunger | Pablo Neruda
2025-07-24 06:43 | EC-93810-001 | Temperature Fault | Temperature Fault | Medium | thermostat | Roberto Bolaño
2025-06-11 10:23 | EC-93810-001 | Aspirate Fault | Aspirate Fault | Critical | plunger | Pablo Neruda
2025-07-24 04:18 | EC-93810-001 | Temperature Fault | Temperature Fault | Medium | thermostat | Gabriel Garcia Marquez
2025-06-11 04:23 | EC-93810-001 | Aspirate Fault | Aspirate Fault | Critical | plunger | Pablo Neruda
2025-07-24 07:36 | EC-93810-001 | Temperature Fault | Temperature Fault | Medium | thermostat | Pablo Neruda
2025-06-11 01:51 | EC-93810-001 | Aspirate Fault | Aspirate Fault | Critical | plunger | Mario Vargas Llosa
2025-07-24 13:27 | EC-93810-001 | Temperature Fault | Temperature Fault | Medium | thermostat | Gabriel Garcia Marquez
2025-06-10 22:30 | EC-93810-001 | Aspirate Fault | Aspirate Fault | Critical | plunger | Roberto Bolaño
2025-06-10 18:18 | EC-93810-001 | Aspirate Fault | Aspirate Fault | Critical | plunger | Cesar Vallejo
2025-07-24 13:23 | EC-93810-001 | Temperature Fault | Temperature Fault | Medium | thermostat | Julio Cortázar
2025-06-10 16:39 | EC-93810-001 | Aspirate Fault | Aspirate Fault | Critical | plunger | Gabriel Garcia Marquez
2025-07-24 00:39 | EC-93810-001 | Temperature Fault | Temperature Fault | Medium | thermostat | Jose Marti
2025-06-10 17:15 | EC-93810-001 | Aspirate Fault | Aspirate Fault | Critical | plunger | Roberto Bolaño
2025-05-11 01:50 | EC-93810-001 | Read Error | Read Error | Low | None | Jorge Luis Borges
2025-07-24 20:01 | EC-93810-001 | Temperature Fault | Temperature Fault | Medium | thermostat | Gabriel Garcia Marquez
2025-07-24 17:58 | EC-93810-001 | Temperature Fault | Temperature Fault | Medium | thermostat | Julio Cortázar
2025-06-10 17:50 | EC-93810-001 | Aspirate Fault | Aspirate Fault | Critical | plunger | Julio Cortázar
2025-05-11 07:27 | EC-93810-001 | Read Error | Read Error | Low | None | Gabriel Garcia Marquez
2025-07-24 03:23 | EC-93810-001 | Temperature Fault | Temperature Fault | Medium | thermostat | Pablo Neruda
2025-06-11 12:44 | EC-93810-001 | Aspirate Fault | Aspirate Fault | Critical | plunger | Mario Vargas Llosa
2025-06-11 01:15 | EC-93810-001 | Aspirate Fault | Aspirate Fault | Critical | plunger | Jorge Luis Borges
2025-06-10 16:21 | EC-93810-001 | Aspirate Fault | Aspirate Fault | Critical | plunger | Julio Cortázar
2025-05-11 05:41 | EC-93810-001 | Read Error | Read Error | Low | None | Pablo Neruda
2025-07-24 21:37 | EC-93810-001 | Temperature Fault | Temperature Fault | Medium | thermostat | Pablo Neruda
2025-06-10 21:15 | EC-93810-001 | Aspirate Fault | Aspirate Fault | Critical | plunger | Jorge Luis Borges
2025-07-24 14:51 | EC-93810-001 | Temperature Fault | Temperature Fault | Medium | thermostat | Roberto Bolaño
2025-07-24 15:31 | EC-93810-001 | Temperature Fault | Temperature Fault | Medium | thermostat | Gabriel Garcia Marquez
2025-06-11 05:03 | EC-93810-001 | Aspirate Fault | Aspirate Fault | Critical | plunger | Jose Marti
2025-05-11 13:42 | EC-93810-001 | Read Error | Read Error | Low | None | Julio Cortázar
2025-05-11 06:10 | EC-93810-001 | Read Error | Read Error | Low | None | Pablo Neruda
2025-07-24 18:23 | EC-93810-001 | Temperature Fault | Temperature Fault | Medium | thermostat | Mario Vargas Llosa
2025-07-24 08:27 | EC-93810-001 | Temperature Fault | Temperature Fault | Medium | thermostat | Isabel Allende
2025-07-24 18:12 | EC-93810-001 | Temperature Fault | Temperature Fault | Medium | thermostat | Pablo Neruda
2025-07-24 05:56 | EC-93810-001 | Temperature Fault | Temperature Fault | Medium | thermostat | Jorge Luis Borges
2025-06-11 07:40 | EC-93810-001 | Aspirate Fault | Aspirate Fault | Critical | plunger | Roberto Bolaño
2025-06-10 14:33 | EC-93810-001 | Aspirate Fault | Aspirate Fault | Critical | plunger | Eduardo Galeano
2025-06-11 10:47 | EC-93810-001 | Aspirate Fault | Aspirate Fault | Critical | plunger | Eduardo Galeano
2025-07-24 06:33 | EC-93810-001 | Temperature Fault | Temperature Fault | Medium | thermostat | Mario Vargas Llosa
2025-05-11 06:44 | EC-93810-001 | Read Error | Read Error | Low | None | Jose Marti
2025-07-24 18:50 | EC-93810-001 | Temperature Fault | Temperature Fault | Medium | thermostat | Eduardo Galeano
2025-06-10 16:24 | EC-93810-001 | Aspirate Fault | Aspirate Fault | Critical | plunger | Isabel Allende
2025-07-24 01:44 | EC-93810-001 | Temperature Fault | Temperature Fault | Medium | thermostat | Gabriel Garcia Marquez
2025-06-11 05:05 | EC-93810-001 | Aspirate Fault | Aspirate Fault | Critical | plunger | Cesar Vallejo
2025-07-24 09:40 | EC-93810-001 | Temperature Fault | Temperature Fault | Medium | thermostat | Eduardo Galeano
2025-06-10 15:06 | EC-93810-001 | Aspirate Fault | Aspirate Fault | Critical | plunger | Cesar Vallejo
2025-06-11 10:52 | EC-93810-001 | Aspirate Fault | Aspirate Fault | Critical | plunger | Cesar Vallejo
2025-06-11 07:08 | EC-93810-001 | Aspirate Fault | Aspirate Fault | Critical | plunger | Cesar Vallejo
2025-05-11 19:24 | EC-93810-001 | Read Error | Read Error | Low | None | Gabriel Garcia Marquez
2025-06-11 13:01 | EC-93810-001 | Aspirate Fault | Aspirate Fault | Critical | plunger | Eduardo Galeano
2025-07-24 16:05 | EC-93810-001 | Temperature Fault | Temperature Fault | Medium | thermostat | Gabriel Garcia Marquez
2025-06-10 19:01 | EC-93810-001 | Aspirate Fault | Aspirate Fault | Critical | plunger | Jorge Luis Borges
2025-07-24 17:07 | EC-93810-001 | Temperature Fault | Temperature Fault | Medium | thermostat | Julio Cortázar
2025-06-11 05:36 | EC-93810-001 | Aspirate Fault | Aspirate Fault | Critical | plunger | Gabriel Garcia Marquez
2025-07-24 19:44 | EC-93810-001 | Temperature Fault | Temperature Fault | Medium | thermostat | Gabriel Garcia Marquez
2025-06-10 23:33 | EC-93810-001 | Aspirate Fault | Aspirate Fault | Critical | plunger | Mario Vargas Llosa
2025-07-24 10:40 | EC-93810-001 | Temperature Fault | Temperature Fault | Medium | thermostat | Isabel Allende
2025-05-11 20:55 | EC-93810-001 | Read Error | Read Error | Low | None | Eduardo Galeano
2025-05-11 19:53 | EC-93810-001 | Read Error | Read Error | Low | None | Gabriel Garcia Marquez
2025-05-11 07:11 | EC-93810-001 | Read Error | Read Error | Low | None | Isabel Allende
2025-05-11 04:33 | EC-93810-001 | Read Error | Read Error | Low | None | Cesar Vallejo
2025-05-11 12:58 | EC-93810-001 | Read Error | Read Error | Low | None | Eduardo Galeano
2025-05-11 11:10 | EC-93810-001 | Read Error | Read Error | Low | None | Roberto Bolaño
2025-05-11 19:47 | EC-93810-001 | Read Error | Read Error | Low | None | Eduardo Galeano
2025-05-11 21:02 | EC-93810-001 | Read Error | Read Error | Low | None | Julio Cortázar
2025-05-11 22:59 | EC-93810-001 | Read Error | Read Error | Low | None | Jorge Luis Borges
2025-05-11 06:43 | EC-93810-001 | Read Error | Read Error | Low | None | Gabriel Garcia Marquez
2025-05-11 10:16 | EC-93810-001 | Read Error | Read Error | Low | None | Pablo Neruda
2025-06-11 08:35 | EC-93810-001 | Aspirate Fault | Aspirate Fault | Critical | plunger | Jose Marti
2025-05-11 21:12 | EC-93810-001 | Read Error | Read Error | Low | None | Jorge Luis Borges
2025-05-11 21:36 | EC-93810-001 | Read Error | Read Error | Low | None | Eduardo Galeano
2025-06-10 18:57 | EC-93810-001 | Aspirate Fault | Aspirate Fault | Critical | plunger | Roberto Bolaño
2025-05-11 05:31 | EC-93810-001 | Read Error | Read Error | Low | None | Eduardo Galeano
2025-06-10 13:09 | EC-93810-001 | Aspirate Fault | Aspirate Fault | Critical | plunger | Julio Cortázar
2025-06-10 14:56 | EC-93810-001 | Aspirate Fault | Aspirate Fault | Critical | plunger | Jose Marti
2025-06-11 03:50 | EC-93810-001 | Aspirate Fault | Aspirate Fault | Critical | plunger | Mario Vargas Llosa
2025-05-11 03:12 | EC-93810-001 | Read Error | Read Error | Low | None | Roberto Bolaño
2025-06-11 11:14 | EC-93810-001 | Aspirate Fault | Aspirate Fault | Critical | plunger | Jorge Luis Borges
2025-05-11 08:50 | EC-93810-001 | Read Error | Read Error | Low | None | Jose Marti
2025-05-11 02:38 | EC-93810-001 | Read Error | Read Error | Low | None | Pablo Neruda
2025-07-24 07:16 | EC-93810-001 | Temperature Fault | Temperature Fault | Medium | thermostat | Mario Vargas Llosa
2025-06-10 20:00 | EC-93810-001 | Aspirate Fault | Aspirate Fault | Critical | plunger | Cesar Vallejo
2025-07-24 05:50 | EC-93810-001 | Temperature Fault | Temperature Fault | Medium | thermostat | Gabriel Garcia Marquez
2025-05-11 11:06 | EC-93810-001 | Read Error | Read Error | Low | None | Roberto Bolaño
2025-05-11 03:53 | EC-93810-001 | Read Error | Read Error | Low | None | Jose Marti
2025-05-11 13:58 | EC-93810-001 | Read Error | Read Error | Low | None | Jorge Luis Borges
2025-07-24 01:22 | EC-93810-001 | Temperature Fault | Temperature Fault | Medium | thermostat | Eduardo Galeano
2025-05-11 18:59 | EC-93810-001 | Read Error | Read Error | Low | None | Gabriel Garcia Marquez
2025-06-11 05:44 | EC-93810-001 | Aspirate Fault | Aspirate Fault | Critical | plunger | Jorge Luis Borges
2025-06-11 02:48 | EC-93810-001 | Aspirate Fault | Aspirate Fault | Critical | plunger | Julio Cortázar
2025-06-10 16:56 | EC-93810-001 | Aspirate Fault | Aspirate Fault | Critical | plunger | Eduardo Galeano
2025-05-11 17:06 | EC-93810-001 | Read Error | Read Error | Low | None | Eduardo Galeano
2025-05-11 14:16 | EC-93810-001 | Read Error | Read Error | Low | None | Julio Cortázar
2025-05-11 18:52 | EC-93810-001 | Read Error | Read Error | Low | None | Isabel Allende
2025-05-11 01:26 | EC-93810-001 | Read Error | Read Error | Low | None | Jose Marti
2025-06-10 20:56 | EC-93810-001 | Aspirate Fault | Aspirate Fault | Critical | plunger | Roberto Bolaño
2025-05-11 07:45 | EC-93810-001 | Read Error | Read Error | Low | None | Julio Cortázar
2025-06-10 16:13 | EC-93810-001 | Aspirate Fault | Aspirate Fault | Critical | plunger | Roberto Bolaño
2025-06-11 11:38 | EC-93810-001 | Aspirate Fault | Aspirate Fault | Critical | plunger | Gabriel Garcia Marquez
2025-05-11 23:54 | EC-93810-001 | Read Error | Read Error | Low | None | Pablo Neruda
2025-05-11 07:41 | EC-93810-001 | Read Error | Read Error | Low | None | Eduardo Galeano
2025-05-11 01:21 | EC-93810-001 | Read Error | Read Error | Low | None | Jose Marti
2025-06-10 22:48 | EC-93810-001 | Aspirate Fault | Aspirate Fault | Critical | plunger | Pablo Neruda
2025-06-10 23:22 | EC-93810-001 | Aspirate Fault | Aspirate Fault | Critical | plunger | Gabriel Garcia Marquez
2025-05-11 04:19 | EC-93810-001 | Read Error | Read Error | Low | None | Eduardo Galeano
2025-06-10 22:34 | EC-93810-001 | Aspirate Fault | Aspirate Fault | Critical | plunger | Julio Cortázar
2025-05-11 07:38 | EC-93810-001 | Read Error | Read Error | Low | None | Roberto Bolaño
2025-05-11 16:46 | EC-93810-001 | Read Error | Read Error | Low | None | Roberto Bolaño
2025-07-24 13:02 | EC-93810-001 | Temperature Fault | Temperature Fault | Medium | thermostat | Cesar Vallejo
2025-06-11 05:25 | EC-93810-001 | Aspirate Fault | Aspirate Fault | Critical | plunger | Eduardo Galeano
2025-05-11 15:20 | EC-93810-001 | Read Error | Read Error | Low | None | Mario Vargas Llosa
2025-06-11 09:46 | EC-93810-001 | Aspirate Fault | Aspirate Fault | Critical | plunger | Julio Cortázar
2025-05-11 22:13 | EC-93810-001 | Read Error | Read Error | Low | None | Jorge Luis Borges
2025-06-11 03:46 | EC-93810-001 | Aspirate Fault | Aspirate Fault | Critical | plunger | Pablo Neruda
2025-06-11 00:20 | EC-93810-001 | Aspirate Fault | Aspirate Fault | Critical | plunger | Isabel Allende
2025-05-11 18:23 | EC-93810-001 | Read Error | Read Error | Low | None | Cesar Vallejo
2025-06-10 13:49 | EC-93810-001 | Aspirate Fault | Aspirate Fault | Critical | plunger | Pablo Neruda
2025-06-11 10:18 | EC-93810-001 | Aspirate Fault | Aspirate Fault | Critical | plunger | Jose Marti
2025-07-24 06:13 | EC-93810-001 | Temperature Fault | Temperature Fault | Medium | thermostat | Gabriel Garcia Marquez
2025-06-11 12:57 | EC-93810-001 | Aspirate Fault | Aspirate Fault | Critical | plunger | Gabriel Garcia Marquez
2025-05-11 06:41 | EC-93810-001 | Read Error | Read Error | Low | None | Julio Cortázar
2025-07-24 07:15 | EC-93810-001 | Temperature Fault | Temperature Fault | Medium | thermostat | Roberto Bolaño
2025-06-10 22:15 | EC-93810-001 | Aspirate Fault | Aspirate Fault | Critical | plunger | Julio Cortázar
2025-05-11 17:52 | EC-93810-001 | Read Error | Read Error | Low | None | Gabriel Garcia Marquez
2025-05-11 10:06 | EC-93810-001 | Read Error | Read Error | Low | None | Isabel Allende
2025-06-11 00:35 | EC-93810-001 | Aspirate Fault | Aspirate Fault | Critical | plunger | Mario Vargas Llosa
2025-07-24 13:03 | EC-93810-001 | Temperature Fault | Temperature Fault | Medium | thermostat | Jose Marti
2025-06-11 04:27 | EC-93810-001 | Aspirate Fault | Aspirate Fault | Critical | plunger | Jose Marti
2025-05-11 06:34 | EC-93810-001 | Read Error | Read Error | Low | None | Isabel Allende
2025-06-11 07:26 | EC-93810-001 | Aspirate Fault | Aspirate Fault | Critical | plunger | Isabel Allende
2025-07-24 07:28 | EC-93810-001 | Temperature Fault | Temperature Fault | Medium | thermostat | Eduardo Galeano
2025-05-11 15:12 | EC-93810-001 | Read Error | Read Error | Low | None | Cesar Vallejo
2025-07-24 01:11 | EC-93810-001 | Temperature Fault | Temperature Fault | Medium | thermostat | Julio Cortázar
2025-07-24 15:44 | EC-93810-001 | Temperature Fault | Temperature Fault | Medium | thermostat | Gabriel Garcia Marquez
2025-05-11 18:32 | EC-93810-001 | Read Error | Read Error | Low | None | Eduardo Galeano
2025-07-24 08:52 | EC-93810-001 | Temperature Fault | Temperature Fault | Medium | thermostat | Pablo Neruda
2025-07-24 00:11 | EC-93810-001 | Temperature Fault | Temperature Fault | Medium | thermostat | Jorge Luis Borges
2025-07-24 11:21 | EC-93810-001 | Temperature Fault | Temperature Fault | Medium | thermostat | Mario Vargas Llosa
2025-07-24 11:17 | EC-93810-001 | Temperature Fault | Temperature Fault | Medium | thermostat | Isabel Allende
2025-06-10 22:17 | EC-93810-001 | Aspirate Fault | Aspirate Fault | Critical | plunger | Gabriel Garcia Marquez
2025-05-11 14:16 | EC-93810-001 | Read Error | Read Error | Low | None | Julio Cortázar
2025-05-11 11:53 | EC-93810-001 | Read Error | Read Error | Low | None | Jose Marti
2025-07-24 00:19 | EC-93810-001 | Temperature Fault | Temperature Fault | Medium | thermostat | Jorge Luis Borges
2025-07-24 07:18 | EC-93810-001 | Temperature Fault | Temperature Fault | Medium | thermostat | Roberto Bolaño
2025-07-24 02:26 | EC-93810-001 | Temperature Fault | Temperature Fault | Medium | thermostat | Julio Cortázar
2025-07-24 14:22 | EC-93810-001 | Temperature Fault | Temperature Fault | Medium | thermostat | Jorge Luis Borges
2025-06-11 05:49 | EC-93810-001 | Aspirate Fault | Aspirate Fault | Critical | plunger | Eduardo Galeano
2025-07-24 02:59 | EC-93810-001 | Temperature Fault | Temperature Fault | Medium | thermostat | Julio Cortázar
2025-05-11 16:29 | EC-93810-001 | Read Error | Read Error | Low | None | Cesar Vallejo
2025-07-24 08:43 | EC-93810-001 | Temperature Fault | Temperature Fault | Medium | thermostat | Julio Cortázar
2025-05-11 16:32 | EC-93810-001 | Read Error | Read Error | Low | None | Jorge Luis Borges
2025-06-11 01:57 | EC-93810-001 | Aspirate Fault | Aspirate Fault | Critical | plunger | Pablo Neruda
2025-07-24 15:11 | EC-93810-001 | Temperature Fault | Temperature Fault | Medium | thermostat | Isabel Allende
2025-06-10 21:54 | EC-93810-001 | Aspirate Fault | Aspirate Fault | Critical | plunger | Eduardo Galeano
2025-06-10 17:38 | EC-93810-001 | Aspirate Fault | Aspirate Fault | Critical | plunger | Eduardo Galeano
2025-05-11 14:43 | EC-93810-001 | Read Error | Read Error | Low | None | Cesar Vallejo
2025-05-11 13:29 | EC-93810-001 | Read Error | Read Error | Low | None | Julio Cortázar
2025-07-24 02:45 | EC-93810-001 | Temperature Fault | Temperature Fault | Medium | thermostat | Cesar Vallejo
2025-06-11 06:48 | EC-93810-001 | Aspirate Fault | Aspirate Fault | Critical | plunger | Jose Marti
2025-07-24 00:55 | EC-93810-001 | Temperature Fault | Temperature Fault | Medium | thermostat | Jorge Luis Borges
2025-05-11 16:23 | EC-93810-001 | Read Error | Read Error | Low | None | Roberto Bolaño
2025-07-24 05:28 | EC-93810-001 | Temperature Fault | Temperature Fault | Medium | thermostat | Jose Marti
2025-05-11 01:18 | EC-93810-001 | Read Error | Read Error | Low | None | Cesar Vallejo
2025-06-11 00:34 | EC-93810-001 | Aspirate Fault | Aspirate Fault | Critical | plunger | Jorge Luis Borges
2025-07-24 15:17 | EC-93810-001 | Temperature Fault | Temperature Fault | Medium | thermostat | Cesar Vallejo
2025-06-10 13:50 | EC-93810-001 | Aspirate Fault | Aspirate Fault | Critical | plunger | Julio Cortázar
2025-05-11 13:20 | EC-93810-001 | Read Error | Read Error | Low | None | Eduardo Galeano
2025-06-10 14:17 | EC-93810-001 | Aspirate Fault | Aspirate Fault | Critical | plunger | Isabel Allende
2025-05-11 08:42 | EC-93810-001 | Read Error | Read Error | Low | None | Mario Vargas Llosa
2025-06-10 22:15 | EC-93810-001 | Aspirate Fault | Aspirate Fault | Critical | plunger | Eduardo Galeano
2025-07-24 17:09 | EC-93810-001 | Temperature Fault | Temperature Fault | Medium | thermostat | Mario Vargas Llosa
2025-05-11 01:51 | EC-93810-001 | Read Error | Read Error | Low | None | Eduardo Galeano
2025-06-11 11:09 | EC-93810-001 | Aspirate Fault | Aspirate Fault | Critical | plunger | Roberto Bolaño
2025-07-24 06:59 | EC-93810-001 | Temperature Fault | Temperature Fault | Medium | thermostat | Jorge Luis Borges
2025-06-11 05:13 | EC-93810-001 | Aspirate Fault | Aspirate Fault | Critical | plunger | Pablo Neruda
2025-07-24 04:24 | EC-93810-001 | Temperature Fault | Temperature Fault | Medium | thermostat | Gabriel Garcia Marquez
2025-07-24 06:02 | EC-93810-001 | Temperature Fault | Temperature Fault | Medium | thermostat | Eduardo Galeano
2025-06-11 05:22 | EC-93810-001 | Aspirate Fault | Aspirate Fault | Critical | plunger | Jose Marti
2025-07-24 09:22 | EC-93810-001 | Temperature Fault | Temperature Fault | Medium | thermostat | Pablo Neruda
2025-07-24 00:20 | EC-93810-001 | Temperature Fault | Temperature Fault | Medium | thermostat | Cesar Vallejo
2025-06-11 06:29 | EC-93810-001 | Aspirate Fault | Aspirate Fault | Critical | plunger | Cesar Vallejo
2025-06-11 00:22 | EC-93810-001 | Aspirate Fault | Aspirate Fault | Critical | plunger | Mario Vargas Llosa
2025-07-24 11:01 | EC-93810-001 | Temperature Fault | Temperature Fault | Medium | thermostat | Jose Marti
2025-05-11 14:09 | EC-93810-001 | Read Error | Read Error | Low | None | Roberto Bolaño
2025-05-11 20:28 | EC-93810-001 | Read Error | Read Error | Low | None | Eduardo Galeano
2025-05-11 11:19 | EC-93810-001 | Read Error | Read Error | Low | None | Gabriel Garcia Marquez
2025-07-24 17:21 | EC-93810-001 | Temperature Fault | Temperature Fault | Medium | thermostat | Jose Marti
2025-07-24 16:13 | EC-93810-001 | Temperature Fault | Temperature Fault | Medium | thermostat | Eduardo Galeano
2025-05-11 11:40 | EC-93810-001 | Read Error | Read Error | Low | None | Isabel Allende
2025-05-11 23:49 | EC-93810-001 | Read Error | Read Error | Low | None | Julio Cortázar
2025-07-24 04:29 | EC-93810-001 | Temperature Fault | Temperature Fault | Medium | thermostat | Gabriel Garcia Marquez
2025-05-12 00:38 | EC-93810-001 | Read Error | Read Error | Low | None | Roberto Bolaño
2025-05-11 09:53 | EC-93810-001 | Read Error | Read Error | Low | None | Cesar Vallejo
2025-06-11 13:02 | EC-93810-001 | Aspirate Fault | Aspirate Fault | Critical | plunger | Pablo Neruda
2025-07-24 13:29 | EC-93810-001 | Temperature Fault | Temperature Fault | Medium | thermostat | Roberto Bolaño
2025-05-11 14:49 | EC-93810-001 | Read Error | Read Error | Low | None | Eduardo Galeano
2025-05-11 07:18 | EC-93810-001 | Read Error | Read Error | Low | None | Jorge Luis Borges
2025-05-11 14:39 | EC-93810-001 | Read Error | Read Error | Low | None | Gabriel Garcia Marquez
2025-07-24 22:51 | EC-93810-001 | Temperature Fault | Temperature Fault | Medium | thermostat | Jorge Luis Borges
2025-06-10 19:41 | EC-93810-001 | Aspirate Fault | Aspirate Fault | Critical | plunger | Jose Marti
2025-07-24 05:50 | EC-93810-001 | Temperature Fault | Temperature Fault | Medium | thermostat | Cesar Vallejo
2025-07-24 02:31 | EC-93810-001 | Temperature Fault | Temperature Fault | Medium | thermostat | Jose Marti
2025-07-24 05:14 | EC-93810-001 | Temperature Fault | Temperature Fault | Medium | thermostat | Roberto Bolaño
2025-05-11 20:06 | EC-93810-001 | Read Error | Read Error | Low | None | Gabriel Garcia Marquez
2025-06-11 13:07 | EC-93810-001 | Aspirate Fault | Aspirate Fault | Critical | plunger | Isabel Allende
2025-05-11 08:53 | EC-93810-001 | Read Error | Read Error | Low | None | Roberto Bolaño
2025-05-11 16:33 | EC-93810-001 | Read Error | Read Error | Low | None | Jorge Luis Borges
2025-07-24 14:13 | EC-93810-001 | Temperature Fault | Temperature Fault | Medium | thermostat | Julio Cortázar
2025-07-24 08:44 | EC-93810-001 | Temperature Fault | Temperature Fault | Medium | thermostat | Gabriel Garcia Marquez
2025-06-11 09:11 | EC-93810-001 | Aspirate Fault | Aspirate Fault | Critical | plunger | Julio Cortázar
2025-05-11 01:57 | EC-93810-001 | Read Error | Read Error | Low | None | Mario Vargas Llosa
2025-07-24 23:31 | EC-93810-001 | Temperature Fault | Temperature Fault | Medium | thermostat | Jose Marti
2025-07-24 23:13 | EC-93810-001 | Temperature Fault | Temperature Fault | Medium | thermostat | Mario Vargas Llosa
2025-05-11 23:57 | EC-93810-001 | Read Error | Read Error | Low | None | Mario Vargas Llosa
2025-06-10 23:28 | EC-93810-001 | Aspirate Fault | Aspirate Fault | Critical | plunger | Jose Marti
2025-07-24 00:26 | EC-93810-001 | Temperature Fault | Temperature Fault | Medium | thermostat | Pablo Neruda
2025-06-11 01:23 | EC-93810-001 | Aspirate Fault | Aspirate Fault | Critical | plunger | Jose Marti
2025-07-24 14:04 | EC-93810-001 | Temperature Fault | Temperature Fault | Medium | thermostat | Roberto Bolaño
2025-05-11 13:55 | EC-93810-001 | Read Error | Read Error | Low | None | Jose Marti
2025-05-11 03:06 | EC-93810-001 | Read Error | Read Error | Low | None | Jose Marti
2025-06-11 07:32 | EC-93810-001 | Aspirate Fault | Aspirate Fault | Critical | plunger | Roberto Bolaño
2025-05-11 01:00 | EC-93810-001 | Read Error | Read Error | Low | None | Isabel Allende
2025-06-11 09:52 | EC-93810-001 | Aspirate Fault | Aspirate Fault | Critical | plunger | Cesar Vallejo
2025-05-11 10:12 | EC-93810-001 | Read Error | Read Error | Low | None | Mario Vargas Llosa
2025-07-24 17:16 | EC-93810-001 | Temperature Fault | Temperature Fault | Medium | thermostat | Julio Cortázar
2025-07-24 08:09 | EC-93810-001 | Temperature Fault | Temperature Fault | Medium | thermostat | Jorge Luis Borges
2025-07-24 04:47 | EC-93810-001 | Temperature Fault | Temperature Fault | Medium | thermostat | Pablo Neruda
2025-06-11 07:32 | EC-93810-001 | Aspirate Fault | Aspirate Fault | Critical | plunger | Pablo Neruda
2025-06-11 05:14 | EC-93810-001 | Aspirate Fault | Aspirate Fault | Critical | plunger | Cesar Vallejo
2025-05-11 14:07 | EC-93810-001 | Read Error | Read Error | Low | None | Eduardo Galeano
2025-07-24 09:02 | EC-93810-001 | Temperature Fault | Temperature Fault | Medium | thermostat | Mario Vargas Llosa
2025-07-24 03:40 | EC-93810-001 | Temperature Fault | Temperature Fault | Medium | thermostat | Isabel Allende
2025-07-24 17:47 | EC-93810-001 | Temperature Fault | Temperature Fault | Medium | thermostat | Jose Marti
2025-05-11 04:26 | EC-93810-001 | Read Error | Read Error | Low | None | Eduardo Galeano
2025-07-24 08:24 | EC-93810-001 | Temperature Fault | Temperature Fault | Medium | thermostat | Jose Marti
2025-07-24 22:14 | EC-93810-001 | Temperature Fault | Temperature Fault | Medium | thermostat | Gabriel Garcia Marquez
2025-07-24 17:13 | EC-93810-001 | Temperature Fault | Temperature Fault | Medium | thermostat | Pablo Neruda
2025-06-10 13:12 | EC-93810-001 | Aspirate Fault | Aspirate Fault | Critical | plunger | Mario Vargas Llosa
2025-06-10 14:43 | EC-93810-001 | Aspirate Fault | Aspirate Fault | Critical | plunger | Pablo Neruda
2025-06-10 15:00 | EC-93810-001 | Aspirate Fault | Aspirate Fault | Critical | plunger | Jose Marti
2025-05-11 15:00 | EC-93810-001 | Read Error | Read Error | Low | None | Julio Cortázar
2025-05-11 16:09 | EC-93810-001 | Read Error | Read Error | Low | None | Jorge Luis Borges
2025-05-11 01:59 | EC-93810-001 | Read Error | Read Error | Low | None | Cesar Vallejo
2025-07-24 18:11 | EC-93810-001 | Temperature Fault | Temperature Fault | Medium | thermostat | Jorge Luis Borges
2025-07-24 21:38 | EC-93810-001 | Temperature Fault | Temperature Fault | Medium | thermostat | Pablo Neruda
2025-06-10 18:35 | EC-93810-001 | Aspirate Fault | Aspirate Fault | Critical | plunger | Eduardo Galeano
2025-05-11 18:58 | EC-93810-001 | Read Error | Read Error | Low | None | Gabriel Garcia Marquez
2025-07-24 13:56 | EC-93810-001 | Temperature Fault | Temperature Fault | Medium | thermostat | Cesar Vallejo
2025-05-11 23:09 | EC-93810-001 | Read Error | Read Error | Low | None | Julio Cortázar
2025-06-11 07:07 | EC-93810-001 | Aspirate Fault | Aspirate Fault | Critical | plunger | Isabel Allende
2025-05-11 23:28 | EC-93810-001 | Read Error | Read Error | Low | None | Jorge Luis Borges
2025-06-10 18:10 | EC-93810-001 | Aspirate Fault | Aspirate Fault | Critical | plunger | Cesar Vallejo
2025-07-24 22:18 | EC-93810-001 | Temperature Fault | Temperature Fault | Medium | thermostat | Jose Marti
2025-06-11 08:26 | EC-93810-001 | Aspirate Fault | Aspirate Fault | Critical | plunger | Gabriel Garcia Marquez
2025-07-24 21:51 | EC-93810-001 | Temperature Fault | Temperature Fault | Medium | thermostat | Roberto Bolaño
2025-07-24 09:11 | EC-93810-001 | Temperature Fault | Temperature Fault | Medium | thermostat | Pablo Neruda
2025-05-11 15:14 | EC-93810-001 | Read Error | Read Error | Low | None | Cesar Vallejo
2025-05-11 15:22 | EC-93810-001 | Read Error | Read Error | Low | None | Jose Marti
2025-07-24 03:37 | EC-93810-001 | Temperature Fault | Temperature Fault | Medium | thermostat | Jose Marti
2025-06-10 16:54 | EC-93810-001 | Aspirate Fault | Aspirate Fault | Critical | plunger | Gabriel Garcia Marquez
2025-06-11 03:00 | EC-93810-001 | Aspirate Fault | Aspirate Fault | Critical | plunger | Eduardo Galeano
2025-05-11 01:27 | EC-93810-001 | Read Error | Read Error | Low | None | Cesar Vallejo
2025-05-11 19:02 | EC-93810-001 | Read Error | Read Error | Low | None | Gabriel Garcia Marquez
2025-05-11 09:07 | EC-93810-001 | Read Error | Read Error | Low | None | Jose Marti
2025-05-11 16:30 | EC-93810-001 | Read Error | Read Error | Low | None | Jorge Luis Borges
2025-07-24 05:45 | EC-93810-001 | Temperature Fault | Temperature Fault | Medium | thermostat | Eduardo Galeano
2025-05-11 23:53 | EC-93810-001 | Read Error | Read Error | Low | None | Julio Cortázar
2025-06-10 22:20 | EC-93810-001 | Aspirate Fault | Aspirate Fault | Critical | plunger | Mario Vargas Llosa
2025-06-11 09:27 | EC-93810-001 | Aspirate Fault | Aspirate Fault | Critical | plunger | Eduardo Galeano
2025-07-24 22:00 | EC-93810-001 | Temperature Fault | Temperature Fault | Medium | thermostat | Gabriel Garcia Marquez
2025-07-24 08:25 | EC-93810-001 | Temperature Fault | Temperature Fault | Medium | thermostat | Isabel Allende
2025-07-24 23:00 | EC-93810-001 | Temperature Fault | Temperature Fault | Medium | thermostat | Roberto Bolaño
2025-05-11 03:42 | EC-93810-001 | Read Error | Read Error | Low | None | Gabriel Garcia Marquez
2025-05-11 11:00 | EC-93810-001 | Read Error | Read Error | Low | None | Gabriel Garcia Marquez
2025-06-10 18:41 | EC-93810-001 | Aspirate Fault | Aspirate Fault | Critical | plunger | Isabel Allende
2025-05-11 14:51 | EC-93810-001 | Read Error | Read Error | Low | None | Jose Marti
2025-05-11 20:55 | EC-93810-001 | Read Error | Read Error | Low | None | Pablo Neruda
2025-05-11 08:32 | EC-93810-001 | Read Error | Read Error | Low | None | Roberto Bolaño
2025-06-10 21:38 | EC-93810-001 | Aspirate Fault | Aspirate Fault | Critical | plunger | Jorge Luis Borges
2025-05-11 19:45 | EC-93810-001 | Read Error | Read Error | Low | None | Julio Cortázar
2025-07-24 15:11 | EC-93810-001 | Temperature Fault | Temperature Fault | Medium | thermostat | Eduardo Galeano
2025-07-24 01:47 | EC-93810-001 | Temperature Fault | Temperature Fault | Medium | thermostat | Mario Vargas Llosa
2025-07-24 12:38 | EC-93810-001 | Temperature Fault | Temperature Fault | Medium | thermostat | Roberto Bolaño
2025-05-11 05:26 | EC-93810-001 | Read Error | Read Error | Low | None | Julio Cortázar
2025-05-11 13:44 | EC-93810-001 | Read Error | Read Error | Low | None | Isabel Allende
2025-05-12 00:28 | EC-93810-001 | Read Error | Read Error | Low | None | Julio Cortázar
2025-05-11 12:56 | EC-93810-001 | Read Error | Read Error | Low | None | Isabel Allende
2025-05-12 00:46 | EC-93810-001 | Read Error | Read Error | Low | None | Eduardo Galeano
2025-06-11 06:15 | EC-93810-001 | Aspirate Fault | Aspirate Fault | Critical | plunger | Pablo Neruda
2025-07-24 17:58 | EC-93810-001 | Temperature Fault | Temperature Fault | Medium | thermostat | Roberto Bolaño
2025-06-10 22:39 | EC-93810-001 | Aspirate Fault | Aspirate Fault | Critical | plunger | Jorge Luis Borges
2025-05-11 14:35 | EC-93810-001 | Read Error | Read Error | Low | None | Julio Cortázar
2025-07-24 18:26 | EC-93810-001 | Temperature Fault | Temperature Fault | Medium | thermostat | Gabriel Garcia Marquez
2025-05-11 12:57 | EC-93810-001 | Read Error | Read Error | Low | None | Jose Marti
2025-06-11 06:09 | EC-93810-001 | Aspirate Fault | Aspirate Fault | Critical | plunger | Mario Vargas Llosa
2025-07-24 12:23 | EC-93810-001 | Temperature Fault | Temperature Fault | Medium | thermostat | Julio Cortázar
2025-07-24 13:26 | EC-93810-001 | Temperature Fault | Temperature Fault | Medium | thermostat | Eduardo Galeano
2025-05-11 07:40 | EC-93810-001 | Read Error | Read Error | Low | None | Gabriel Garcia Marquez
2025-05-11 15:32 | EC-93810-001 | Read Error | Read Error | Low | None | Jorge Luis Borges
2025-06-11 02:54 | EC-93810-001 | Aspirate Fault | Aspirate Fault | Critical | plunger | Roberto Bolaño
2025-07-24 21:06 | EC-93810-001 | Temperature Fault | Temperature Fault | Medium | thermostat | Cesar Vallejo
2025-06-10 22:50 | EC-93810-001 | Aspirate Fault | Aspirate Fault | Critical | plunger | Jose Marti
2025-05-11 05:20 | EC-93810-001 | Read Error | Read Error | Low | None | Isabel Allende
2025-07-24 10:22 | EC-93810-001 | Temperature Fault | Temperature Fault | Medium | thermostat | Jose Marti
2025-06-11 11:54 | EC-93810-001 | Aspirate Fault | Aspirate Fault | Critical | plunger | Gabriel Garcia Marquez
2025-05-11 02:39 | EC-93810-001 | Read Error | Read Error | Low | None | Julio Cortázar
2025-05-11 21:34 | EC-93810-001 | Read Error | Read Error | Low | None | Cesar Vallejo
2025-06-10 19:26 | EC-93810-001 | Aspirate Fault | Aspirate Fault | Critical | plunger | Gabriel Garcia Marquez
2025-06-11 08:23 | EC-93810-001 | Aspirate Fault | Aspirate Fault | Critical | plunger | Jose Marti
2025-05-11 01:18 | EC-93810-001 | Read Error | Read Error | Low | None | Eduardo Galeano
2025-06-11 02:44 | EC-93810-001 | Aspirate Fault | Aspirate Fault | Critical | plunger | Pablo Neruda
2025-06-11 08:34 | EC-93810-001 | Aspirate Fault | Aspirate Fault | Critical | plunger | Jose Marti
2025-06-10 19:11 | EC-93810-001 | Aspirate Fault | Aspirate Fault | Critical | plunger | Mario Vargas Llosa
2025-06-11 02:01 | EC-93810-001 | Aspirate Fault | Aspirate Fault | Critical | plunger | Jose Marti
2025-07-24 20:17 | EC-93810-001 | Temperature Fault | Temperature Fault | Medium | thermostat | Gabriel Garcia Marquez
2025-07-24 20:22 | EC-93810-001 | Temperature Fault | Temperature Fault | Medium | thermostat | Cesar Vallejo
2025-05-11 08:17 | EC-93810-001 | Read Error | Read Error | Low | None | Isabel Allende
2025-07-24 16:04 | EC-93810-001 | Temperature Fault | Temperature Fault | Medium | thermostat | Eduardo Galeano
2025-07-24 17:21 | EC-93810-001 | Temperature Fault | Temperature Fault | Medium | thermostat | Roberto Bolaño
2025-07-24 16:41 | EC-93810-001 | Temperature Fault | Temperature Fault | Medium | thermostat | Roberto Bolaño
2025-07-24 06:10 | EC-93810-001 | Temperature Fault | Temperature Fault | Medium | thermostat | Isabel Allende
2025-06-10 13:34 | EC-93810-001 | Aspirate Fault | Aspirate Fault | Critical | plunger | Julio Cortázar
2025-05-11 09:21 | EC-93810-001 | Read Error | Read Error | Low | None | Julio Cortázar
2025-07-24 05:40 | EC-93810-001 | Temperature Fault | Temperature Fault | Medium | thermostat | Jorge Luis Borges
2025-07-24 08:22 | EC-93810-001 | Temperature Fault | Temperature Fault | Medium | thermostat | Jose Marti
2025-05-11 04:11 | EC-93810-001 | Read Error | Read Error | Low | None | Isabel Allende
2025-05-11 21:31 | EC-93810-001 | Read Error | Read Error | Low | None | Cesar Vallejo
2025-07-24 06:15 | EC-93810-001 | Temperature Fault | Temperature Fault | Medium | thermostat | Jose Marti
2025-05-11 06:12 | EC-93810-001 | Read Error | Read Error | Low | None | Gabriel Garcia Marquez
2025-06-10 13:29 | EC-93810-001 | Aspirate Fault | Aspirate Fault | Critical | plunger | Jorge Luis Borges
2025-05-11 03:12 | EC-93810-001 | Read Error | Read Error | Low | None | Julio Cortázar
2025-06-10 14:50 | EC-93810-001 | Aspirate Fault | Aspirate Fault | Critical | plunger | Roberto Bolaño
2025-06-10 18:09 | EC-93810-001 | Aspirate Fault | Aspirate Fault | Critical | plunger | Jose Marti
2025-07-24 02:04 | EC-93810-001 | Temperature Fault | Temperature Fault | Medium | thermostat | Julio Cortázar
2025-07-24 22:02 | EC-93810-001 | Temperature Fault | Temperature Fault | Medium | thermostat | Mario Vargas Llosa
2025-05-11 10:38 | EC-93810-001 | Read Error | Read Error | Low | None | Jose Marti
2025-05-11 08:21 | EC-93810-001 | Read Error | Read Error | Low | None | Julio Cortázar
2025-05-11 01:30 | EC-93810-001 | Read Error | Read Error | Low | None | Mario Vargas Llosa
2025-07-24 19:24 | EC-93810-001 | Temperature Fault | Temperature Fault | Medium | thermostat | Roberto Bolaño
2025-06-10 18:20 | EC-93810-001 | Aspirate Fault | Aspirate Fault | Critical | plunger | Cesar Vallejo
2025-06-10 17:40 | EC-93810-001 | Aspirate Fault | Aspirate Fault | Critical | plunger | Jorge Luis Borges
2025-07-24 20:42 | EC-93810-001 | Temperature Fault | Temperature Fault | Medium | thermostat | Cesar Vallejo
2025-06-11 11:08 | EC-93810-001 | Aspirate Fault | Aspirate Fault | Critical | plunger | Isabel Allende
2025-07-24 12:52 | EC-93810-001 | Temperature Fault | Temperature Fault | Medium | thermostat | Julio Cortázar
2025-05-11 23:42 | EC-93810-001 | Read Error | Read Error | Low | None | Gabriel Garcia Marquez
2025-06-10 13:32 | EC-93810-001 | Aspirate Fault | Aspirate Fault | Critical | plunger | Isabel Allende
2025-07-24 21:56 | EC-93810-001 | Temperature Fault | Temperature Fault | Medium | thermostat | Gabriel Garcia Marquez
2025-05-11 18:38 | EC-93810-001 | Read Error | Read Error | Low | None | Gabriel Garcia Marquez
2025-05-11 12:25 | EC-93810-001 | Read Error | Read Error | Low | None | Mario Vargas Llosa
2025-05-11 20:23 | EC-93810-001 | Read Error | Read Error | Low | None | Roberto Bolaño
2025-06-11 03:45 | EC-93810-001 | Aspirate Fault | Aspirate Fault | Critical | plunger | Jose Marti
2025-05-11 22:10 | EC-93810-001 | Read Error | Read Error | Low | None | Julio Cortázar
2025-07-24 20:57 | EC-93810-001 | Temperature Fault | Temperature Fault | Medium | thermostat | Eduardo Galeano
2025-05-11 20:20 | EC-93810-001 | Read Error | Read Error | Low | None | Cesar Vallejo
2025-05-11 23:05 | EC-93810-001 | Read Error | Read Error | Low | None | Isabel Allende
2025-06-11 07:22 | EC-93810-001 | Aspirate Fault | Aspirate Fault | Critical | plunger | Gabriel Garcia Marquez
2025-05-11 03:50 | EC-93810-001 | Read Error | Read Error | Low | None | Roberto Bolaño
2025-07-24 12:13 | EC-93810-001 | Temperature Fault | Temperature Fault | Medium | thermostat | Mario Vargas Llosa
2025-07-23 23:52 | EC-93810-001 | Temperature Fault | Temperature Fault | Medium | thermostat | Roberto Bolaño
2025-07-24 13:43 | EC-93810-001 | Temperature Fault | Temperature Fault | Medium | thermostat | Eduardo Galeano
2025-05-11 18:53 | EC-93810-001 | Read Error | Read Error | Low | None | Eduardo Galeano
2025-07-24 11:09 | EC-93810-001 | Temperature Fault | Temperature Fault | Medium | thermostat | Roberto Bolaño
2025-05-11 23:10 | EC-93810-001 | Read Error | Read Error | Low | None | Julio Cortázar
2025-05-11 11:30 | EC-93810-001 | Read Error | Read Error | Low | None | Mario Vargas Llosa
2025-06-11 05:54 | EC-93810-001 | Aspirate Fault | Aspirate Fault | Critical | plunger | Julio Cortázar
2025-05-11 06:30 | EC-93810-001 | Read Error | Read Error | Low | None | Isabel Allende
2025-05-11 03:24 | EC-93810-001 | Read Error | Read Error | Low | None | Mario Vargas Llosa
2025-06-11 11:41 | EC-93810-001 | Aspirate Fault | Aspirate Fault | Critical | plunger | Jose Marti
2025-06-11 02:57 | EC-93810-001 | Aspirate Fault | Aspirate Fault | Critical | plunger | Pablo Neruda
2025-05-11 02:42 | EC-93810-001 | Read Error | Read Error | Low | None | Roberto Bolaño
2025-06-11 06:04 | EC-93810-001 | Aspirate Fault | Aspirate Fault | Critical | plunger | Mario Vargas Llosa
2025-07-24 05:34 | EC-93810-001 | Temperature Fault | Temperature Fault | Medium | thermostat | Pablo Neruda
2025-06-11 01:05 | EC-93810-001 | Aspirate Fault | Aspirate Fault | Critical | plunger | Jorge Luis Borges
2025-05-11 15:14 | EC-93810-001 | Read Error | Read Error | Low | None | Pablo Neruda
2025-07-24 22:25 | EC-93810-001 | Temperature Fault | Temperature Fault | Medium | thermostat | Gabriel Garcia Marquez
2025-05-11 05:56 | EC-93810-001 | Read Error | Read Error | Low | None | Isabel Allende
2025-07-24 19:42 | EC-93810-001 | Temperature Fault | Temperature Fault | Medium | thermostat | Jose Marti
2025-07-24 02:12 | EC-93810-001 | Temperature Fault | Temperature Fault | Medium | thermostat | Jose Marti
2025-05-11 18:32 | EC-93810-001 | Read Error | Read Error | Low | None | Roberto Bolaño
2025-05-11 08:06 | EC-93810-001 | Read Error | Read Error | Low | None | Roberto Bolaño
2025-05-11 07:24 | EC-93810-001 | Read Error | Read Error | Low | None | Julio Cortázar
2025-07-24 06:03 | EC-93810-001 | Temperature Fault | Temperature Fault | Medium | thermostat | Julio Cortázar
2025-06-10 22:32 | EC-93810-001 | Aspirate Fault | Aspirate Fault | Critical | plunger | Roberto Bolaño
2025-06-11 07:55 | EC-93810-001 | Aspirate Fault | Aspirate Fault | Critical | plunger | Jose Marti
2025-05-11 10:10 | EC-93810-001 | Read Error | Read Error | Low | None | Roberto Bolaño
2025-06-10 14:01 | EC-93810-001 | Aspirate Fault | Aspirate Fault | Critical | plunger | Roberto Bolaño
2025-07-24 18:01 | EC-93810-001 | Temperature Fault | Temperature Fault | Medium | thermostat | Eduardo Galeano
2025-05-11 08:37 | EC-93810-001 | Read Error | Read Error | Low | None | Isabel Allende
2025-05-11 01:06 | EC-93810-001 | Read Error | Read Error | Low | None | Roberto Bolaño
2025-06-11 00:07 | EC-93810-001 | Aspirate Fault | Aspirate Fault | Critical | plunger | Pablo Neruda
2025-07-24 02:13 | EC-93810-001 | Temperature Fault | Temperature Fault | Medium | thermostat | Roberto Bolaño
2025-07-24 00:56 | EC-93810-001 | Temperature Fault | Temperature Fault | Medium | thermostat | Cesar Vallejo
2025-06-10 16:12 | EC-93810-001 | Aspirate Fault | Aspirate Fault | Critical | plunger | Roberto Bolaño
2025-07-24 07:56 | EC-93810-001 | Temperature Fault | Temperature Fault | Medium | thermostat | Gabriel Garcia Marquez
2025-07-24 20:01 | EC-93810-001 | Temperature Fault | Temperature Fault | Medium | thermostat | Isabel Allende
2025-05-11 10:04 | EC-93810-001 | Read Error | Read Error | Low | None | Isabel Allende
2025-06-10 19:43 | EC-93810-001 | Aspirate Fault | Aspirate Fault | Critical | plunger | Julio Cortázar
2025-05-11 21:35 | EC-93810-001 | Read Error | Read Error | Low | None | Pablo Neruda
2025-07-24 11:52 | EC-93810-001 | Temperature Fault | Temperature Fault | Medium | thermostat | Cesar Vallejo
2025-05-11 12:41 | EC-93810-001 | Read Error | Read Error | Low | None | Isabel Allende
2025-07-24 02:28 | EC-93810-001 | Temperature Fault | Temperature Fault | Medium | thermostat | Pablo Neruda
2025-06-11 04:34 | EC-93810-001 | Aspirate Fault | Aspirate Fault | Critical | plunger | Julio Cortázar
2025-06-11 10:17 | EC-93810-001 | Aspirate Fault | Aspirate Fault | Critical | plunger | Eduardo Galeano
2025-07-24 12:16 | EC-93810-001 | Temperature Fault | Temperature Fault | Medium | thermostat | Mario Vargas Llosa
2025-07-24 22:31 | EC-93810-001 | Temperature Fault | Temperature Fault | Medium | thermostat | Pablo Neruda
2025-06-10 14:45 | EC-93810-001 | Aspirate Fault | Aspirate Fault | Critical | plunger | Roberto Bolaño
2025-06-10 13:14 | EC-93810-001 | Aspirate Fault | Aspirate Fault | Critical | plunger | Jorge Luis Borges
2025-06-10 13:32 | EC-93810-001 | Aspirate Fault | Aspirate Fault | Critical | plunger | Jose Marti
2025-05-11 01:21 | EC-93810-001 | Read Error | Read Error | Low | None | Julio Cortázar
2025-06-10 23:47 | EC-93810-001 | Aspirate Fault | Aspirate Fault | Critical | plunger | Pablo Neruda
2025-07-24 09:12 | EC-93810-001 | Temperature Fault | Temperature Fault | Medium | thermostat | Jorge Luis Borges
2025-05-11 21:33 | EC-93810-001 | Read Error | Read Error | Low | None | Cesar Vallejo
2025-05-11 07:00 | EC-93810-001 | Read Error | Read Error | Low | None | Pablo Neruda
2025-07-24 00:36 | EC-93810-001 | Temperature Fault | Temperature Fault | Medium | thermostat | Mario Vargas Llosa
2025-07-24 12:50 | EC-93810-001 | Temperature Fault | Temperature Fault | Medium | thermostat | Eduardo Galeano
2025-05-11 02:17 | EC-93810-001 | Read Error | Read Error | Low | None | Mario Vargas Llosa
2025-07-24 12:28 | EC-93810-001 | Temperature Fault | Temperature Fault | Medium | thermostat | Cesar Vallejo