## Sheet1
timestamp | error_code | error_type | description | severity | analyzer_id | firmware_version | temperature | operator
2025-01-02 14:04:42 | RAC-2091 | Rack Handler | Rack motor jammed | Warning | EC-93810-001 | 4.1.0 | 29.6 | Pablo Neruda
2025-02-19 06:05:40 | SAM-8667 | Sample Handler | Sample not aspirated | Critical | EC-93810-001 | 1.5.17 | 19.3 | Pablo Neruda
2024-11-24 12:58:45 | SAM-3671 | Sample Handler | Sample probe clogged | Info | EC-93810-001 | 3.6.2 | 31.2 | Monica Araya
2025-03-30 10:39:09 | POW-7964 | Power Supply | Voltage fluctuation detected | Info | EC-93810-001 | 3.9.7 | 19.4 | Eduardo Galeano
2025-01-27 08:48:13 | SAM-3083 | Sample Handler | Sample probe alignment error | Warning | EC-93810-001 | 2.9.8 | 29.7 | Oswaldo Guayasamin
2025-07-28 06:25:07 | FLU-6448 | Fluidics | Fluid leak detected | Info | EC-93810-001 | 4.7.14 | 16.2 | Oswaldo Guayasamin
2025-03-31 22:20:42 | POW-3935 | Power Supply | Power surge detected | Info | EC-93810-001 | 3.6.20 | 16.8 | Eduardo Galeano
2024-12-31 05:52:18 | BAR-4995 | Barcode Reader | Barcode checksum mismatch | Critical | EC-93810-001 | 2.8.2 | 21.2 | Oswaldo Guayasamin
2025-03-26 04:22:59 | RAC-8356 | Rack Handler | Rack position error | Critical | EC-93810-001 | 3.6.1 | 26.8 | Mario Benedetti
2025-04-21 22:32:04 | REA-9017 | Reagent Management | Reagent bottle missing | Warning | EC-93810-001 | 3.8.10 | 30.6 | Mario Benedetti
2024-09-11 12:12:14 | BAR-4352 | Barcode Reader | Unreadable barcode | Info | EC-93810-001 | 4.6.6 | 15.1 | Mario Benedetti
2025-08-07 10:06:14 | POW-8174 | Power Supply | Power supply overload | Critical | EC-93810-001 | 1.9.14 | 16.2 | Juan Angola
2025-07-26 12:36:43 | OPT-7329 | Optics | Light source intensity low | Critical | EC-93810-001 | 4.9.9 | 19.3 | Violeta Parra
2025-08-12 04:00:06 | OPT-9149 | Optics | Wavelength calibration failed | Critical | EC-93810-001 | 1.1.14 | 15.7 | Juan Angola
2024-09-07 01:12:55 | OPT-9086 | Optics | Light source intensity low | Info | EC-93810-001 | 5.7.16 | 27.5 | Eduardo Galeano
2024-09-06 17:18:59 | TEM-3819 | Temperature Control | Cooling system failure | Info | EC-93810-001 | 2.2.9 | 16.4 | Gabriela Mistral
2024-12-15 11:04:19 | BAR-6994 | Barcode Reader | Barcode checksum mismatch | Warning | EC-93810-001 | 4.4.0 | 34.1 | Eduardo Galeano
2024-12-23 01:27:22 | REA-6110 | Reagent Management | Reagent mixing error | Info | EC-93810-001 | 2.8.16 | 26.2 | Aline Prata
2024-10-14 21:01:25 | REA-1799 | Reagent Management | Reagent mixing error | Critical | EC-93810-001 | 2.9.19 | 23.2 | Gabriela Mistral
2025-02-05 08:47:09 | BAR-9220 | Barcode Reader | Barcode scanner timeout | Info | EC-93810-001 | 3.2.16 | 18.5 | Mario Benedetti
2024-09-11 20:34:55 | SAM-4239 | Sample Handler | Sample probe alignment error | Info | EC-93810-001 | 4.5.7 | 28 | Aline Prata
2024-11-01 23:40:01 | RAC-7373 | Rack Handler | Rack position error | Info | EC-93810-001 | 2.7.10 | 28.3 | Eduardo Galeano
2025-05-05 17:27:36 | FLU-3725 | Fluidics | Reservoir empty | Critical | EC-93810-001 | 3.6.0 | 31.5 | Pepe Mujica
2025-03-26 11:30:11 | SAM-4180 | Sample Handler | Sample vial missing | Warning | EC-93810-001 | 5.7.5 | 27.4 | Eduardo Galeano
2024-09-12 16:58:44 | SAM-4172 | Sample Handler | Sample probe clogged | Info | EC-93810-001 | 3.0.7 | 34 | Oswaldo Guayasamin
2024-08-14 07:55:04 | FLU-8968 | Fluidics | Pump pressure adjustment needed | Info | EC-93810-001 | 3.4.7 | 24.2 | Violeta Parra
2025-03-31 18:14:46 | BAR-5999 | Barcode Reader | Unreadable barcode | Critical | EC-93810-001 | 5.6.7 | 28.8 | Juan Angola
2025-06-04 04:18:55 | POW-7499 | Power Supply | Voltage fluctuation detected | Info | EC-93810-001 | 1.3.5 | 26.1 | Monica Araya
2025-04-03 20:55:31 | FLU-9594 | Fluidics | Fluid leak detected | Warning | EC-93810-001 | 1.8.13 | 30.8 | Mario Benedetti
2025-04-23 13:35:58 | POW-8654 | Power Supply | Battery backup failure | Warning | EC-93810-001 | 1.0.2 | 16.8 | Mario Benedetti
2025-04-08 10:56:58 | OPT-1074 | Optics | Wavelength calibration failed | Critical | EC-93810-001 | 2.9.18 | 28.7 | Eduardo Galeano
2024-11-16 08:52:31 | REA-9051 | Reagent Management | Reagent mixing error | Warning | EC-93810-001 | 5.9.9 | 30.3 | Eduardo Galeano
2025-07-26 22:30:34 | TEM-5623 | Temperature Control | Temperature sensor error | Warning | EC-93810-001 | 5.5.0 | 30.1 | Violeta Parra
2024-10-23 17:59:07 | TEM-2248 | Temperature Control | Heater malfunction | Critical | EC-93810-001 | 3.1.6 | 17.7 | Aline Prata
2024-09-08 18:41:44 | TEM-6288 | Temperature Control | Heater malfunction | Warning | EC-93810-001 | 5.5.9 | 28.7 | Monica Araya
2024-10-22 18:27:05 | OPT-3698 | Optics | Wavelength calibration failed | Info | EC-93810-001 | 2.9.9 | 22.5 | Violeta Parra
2025-05-09 03:18:15 | REA-5725 | Reagent Management | Reagent bottle missing | Info | EC-93810-001 | 5.0.2 | 25 | Monica Araya
2025-02-28 12:04:08 | POW-6344 | Power Supply | Power surge detected | Warning | EC-93810-001 | 1.6.17 | 31.6 | Pepe Mujica
2025-07-05 10:59:48 | POW-1827 | Power Supply | Voltage fluctuation detected | Critical | EC-93810-001 | 5.9.18 | 35 | Pablo Neruda
2025-04-04 11:32:25 | TEM-1983 | Temperature Control | Cooling system failure | Warning | EC-93810-001 | 3.3.17 | 19.4 | Oswaldo Guayasamin
2024-08-16 05:19:25 | BAR-2557 | Barcode Reader | Barcode checksum mismatch | Info | EC-93810-001 | 2.9.11 | 17.6 | Eduardo Galeano
2025-03-13 22:03:16 | BAR-2487 | Barcode Reader | Barcode checksum mismatch | Info | EC-93810-001 | 5.4.14 | 31.4 | Monica Araya
2024-09-20 22:31:34 | BAR-3330 | Barcode Reader | Barcode scanner timeout | Warning | EC-93810-001 | 3.5.12 | 25.4 | Juan Angola
2025-04-15 19:05:01 | OPT-6936 | Optics | Optical sensor malfunction | Info | EC-93810-001 | 1.1.10 | 18.3 | Mario Benedetti
2025-05-08 11:50:18 | REA-4973 | Reagent Management | Reagent expired | Critical | EC-93810-001 | 3.1.11 | 22 | Pablo Neruda
2025-05-01 21:46:26 | RAC-1284 | Rack Handler | Rack motor jammed | Warning | EC-93810-001 | 1.8.7 | 33.6 | Mario Benedetti
2024-10-05 03:27:16 | RAC-5636 | Rack Handler | Rack sensor failure | Warning | EC-93810-001 | 3.9.8 | 15.9 | Violeta Parra
2025-08-05 23:31:22 | OPT-2969 | Optics | Optical sensor malfunction | Warning | EC-93810-001 | 4.6.15 | 30.8 | Eduardo Galeano
2025-05-12 20:45:14 | REA-7868 | Reagent Management | Reagent level low | Warning | EC-93810-001 | 5.7.6 | 34.4 | Violeta Parra
2024-10-22 22:10:46 | BAR-9757 | Barcode Reader | Barcode misalignment | Warning | EC-93810-001 | 1.1.8 | 34.1 | Pepe Mujica
2025-06-09 06:47:37 | RAC-6142 | Rack Handler | Rack position error | Warning | EC-93810-001 | 3.4.4 | 30.6 | Pablo Neruda
2025-07-20 06:21:47 | RAC-3171 | Rack Handler | Rack motor jammed | Critical | EC-93810-001 | 2.0.14 | 32.8 | Monica Araya
2025-01-16 01:48:31 | POW-7698 | Power Supply | Battery backup failure | Critical | EC-93810-001 | 5.0.14 | 25 | Mario Benedetti
2024-09-11 06:48:08 | SAM-8239 | Sample Handler | Sample probe alignment error | Critical | EC-93810-001 | 1.9.8 | 16.9 | Pablo Neruda
2025-04-29 06:32:35 | FLU-6557 | Fluidics | Flow rate out of range | Info | EC-93810-001 | 3.6.3 | 16.8 | Pablo Neruda
2024-10-17 18:42:55 | OPT-3556 | Optics | Wavelength calibration failed | Info | EC-93810-001 | 3.6.11 | 33.2 | Monica Araya
2024-12-01 02:52:55 | REA-6129 | Reagent Management | Reagent level low | Critical | EC-93810-001 | 4.7.18 | 27.7 | Juan Angola
2024-08-24 05:49:19 | POW-8904 | Power Supply | Power surge detected | Warning | EC-93810-001 | 5.8.18 | 15.9 | Juan Angola
2024-12-12 14:39:09 | TEM-6008 | Temperature Control | Temperature sensor error | Info | EC-93810-001 | 3.1.12 | 33.4 | Pepe Mujica
2024-12-31 03:54:14 | POW-5314 | Power Supply | Voltage fluctuation detected | Info | EC-93810-001 | 4.0.17 | 33 | Aline Prata
2025-04-18 00:03:02 | OPT-9041 | Optics | Laser alignment error | Info | EC-93810-001 | 5.2.19 | 33.4 | Gabriela Mistral
2025-02-26 22:34:58 | RAC-2926 | Rack Handler | Rack position error | Warning | EC-93810-001 | 3.7.4 | 29.6 | Eduardo Galeano
2025-08-09 21:03:24 | POW-7294 | Power Supply | Power surge detected | Critical | EC-93810-001 | 3.6.10 | 22.5 | Eduardo Galeano
2025-06-06 22:31:43 | FLU-8580 | Fluidics | Flow rate out of range | Warning | EC-93810-001 | 2.3.17 | 20.3 | Pepe Mujica
2025-08-10 14:17:59 | REA-5655 | Reagent Management | Reagent bottle missing | Warning | EC-93810-001 | 3.6.13 | 29.4 | Pablo Neruda
2024-08-29 01:14:06 | FLU-8638 | Fluidics | Pump pressure adjustment needed | Info | EC-93810-001 | 1.1.3 | 23.4 | Mario Benedetti
2024-11-14 20:25:53 | SAM-6926 | Sample Handler | Sample vial missing | Info | EC-93810-001 | 1.9.20 | 23.6 | Gabriela Mistral
2025-03-25 06:49:50 | POW-1878 | Power Supply | Power surge detected | Warning | EC-93810-001 | 5.2.3 | 29.1 | Oswaldo Guayasamin
2025-03-29 08:33:14 | OPT-9610 | Optics | Light source intensity low | Critical | EC-93810-001 | 2.9.9 | 34 | Eduardo Galeano
2025-02-13 17:57:35 | REA-8572 | Reagent Management | Reagent level low | Critical | EC-93810-001 | 3.3.16 | 24.1 | Aline Prata
2025-06-22 00:19:48 | POW-8308 | Power Supply | Voltage fluctuation detected | Critical | EC-93810-001 | 4.4.4 | 28 | Mario Benedetti
2025-04-22 19:47:30 | OPT-5061 | Optics | Light source intensity low | Info | EC-93810-001 | 5.2.19 | 32.8 | Oswaldo Guayasamin
2024-12-26 02:30:19 | REA-4168 | Reagent Management | Reagent bottle missing | Warning | EC-93810-001 | 5.9.14 | 34.2 | Monica Araya
2025-07-15 18:29:48 | RAC-3473 | Rack Handler | Rack motor jammed | Info | EC-93810-001 | 2.4.7 | 17.8 | Aline Prata
2025-04-11 18:23:21 | SAM-4214 | Sample Handler | Sample probe clogged | Critical | EC-93810-001 | 5.2.12 | 25.4 | Violeta Parra
2025-01-19 03:20:40 | TEM-8066 | Temperature Control | Heater malfunction | Info | EC-93810-001 | 2.2.0 | 30.9 | Monica Araya
2025-07-21 15:52:04 | TEM-9656 | Temperature Control | Heater malfunction | Info | EC-93810-001 | 4.2.18 | 27.7 | Mario Benedetti
2025-02-11 05:04:48 | REA-3539 | Reagent Management | Reagent mixing error | Info | EC-93810-001 | 3.7.3 | 20.7 | Mario Benedetti
2025-07-19 09:57:08 | POW-7302 | Power Supply | Voltage fluctuation detected | Info | EC-93810-001 | 1.2.4 | 21.2 | Mario Benedetti
2025-04-05 15:01:39 | FLU-1391 | Fluidics | Pump pressure adjustment needed | Critical | EC-93810-001 | 3.4.12 | 30.7 | Pablo Neruda
2025-04-12 08:26:17 | OPT-5358 | Optics | Light source intensity low | Critical | EC-93810-001 | 2.3.15 | 28.8 | Oswaldo Guayasamin
2025-06-26 13:08:17 | TEM-8550 | Temperature Control | Cooling system failure | Info | EC-93810-001 | 5.6.17 | 31.4 | Eduardo Galeano
2024-11-04 10:03:44 | FLU-4117 | Fluidics | Pump pressure adjustment needed | Critical | EC-93810-001 | 5.5.10 | 24.3 | Pablo Neruda
2025-03-07 14:34:25 | SAM-3510 | Sample Handler | Sample probe alignment error | Info | EC-93810-001 | 5.6.1 | 29.5 | Oswaldo Guayasamin
2025-08-06 00:44:01 | TEM-7727 | Temperature Control | Cooling system failure | Warning | EC-93810-001 | 3.1.19 | 29.3 | Eduardo Galeano
2025-01-03 01:02:03 | REA-2485 | Reagent Management | Reagent level low | Warning | EC-93810-001 | 2.7.13 | 25.5 | Violeta Parra
2024-10-05 11:01:11 | TEM-7553 | Temperature Control | Heater malfunction | Warning | EC-93810-001 | 2.0.11 | 27.4 | Violeta Parra
2025-02-21 10:01:25 | OPT-1206 | Optics | Laser alignment error | Critical | EC-93810-001 | 1.9.15 | 18.2 | Gabriela Mistral
2025-07-25 05:51:01 | TEM-9013 | Temperature Control | Cooling system failure | Warning | EC-93810-001 | 1.5.2 | 18 | Pepe Mujica
2025-01-05 06:17:12 | POW-4472 | Power Supply | Power supply overload | Info | EC-93810-001 | 2.3.4 | 18.4 | Mario Benedetti
2024-12-20 17:28:25 | TEM-3868 | Temperature Control | Temperature out of range | Warning | EC-93810-001 | 5.3.5 | 24.7 | Pepe Mujica
2024-12-18 23:01:16 | OPT-9769 | Optics | Laser alignment error | Critical | EC-93810-001 | 4.7.10 | 32.7 | Pablo Neruda
2024-08-25 14:18:54 | RAC-1872 | Rack Handler | Rack not detected | Info | EC-93810-001 | 4.6.14 | 33 | Mario Benedetti
2025-03-01 03:53:37 | REA-7034 | Reagent Management | Reagent mixing error | Warning | EC-93810-001 | 3.0.14 | 25.1 | Mario Benedetti
2025-07-31 20:44:59 | SAM-2084 | Sample Handler | Sample not aspirated | Info | EC-93810-001 | 1.7.9 | 20.4 | Eduardo Galeano
2024-12-06 07:16:39 | BAR-1394 | Barcode Reader | Barcode checksum mismatch | Info | EC-93810-001 | 1.7.8 | 21 | Aline Prata
2024-10-15 02:54:20 | OPT-1200 | Optics | Laser alignment error | Critical | EC-93810-001 | 5.2.3 | 32.8 | Aline Prata
2025-07-04 10:18:05 | TEM-7322 | Temperature Control | Cooling system failure | Critical | EC-93810-001 | 4.7.8 | 20 | Mario Benedetti
2025-06-25 17:43:01 | TEM-2290 | Temperature Control | Temperature sensor error | Critical | EC-93810-001 | 5.5.7 | 31.7 | Aline Prata
2025-05-14 04:41:09 | OPT-7795 | Optics | Light source intensity low | Critical | EC-93810-001 | 1.6.11 | 15.5 | Gabriela Mistral
2024-10-07 07:06:01 | OPT-2840 | Optics | Light source intensity low | Critical | EC-93810-001 | 1.1.12 | 19.7 | Eduardo Galeano
2025-06-20 21:16:00 | REA-8472 | Reagent Management | Reagent mixing error | Warning | EC-93810-001 | 5.1.13 | 24.2 | Gabriela Mistral
2025-08-12 19:57:29 | RAC-4191 | Rack Handler | Rack position error | Info | EC-93810-001 | 5.9.6 | 18.6 | Mario Benedetti
2024-09-18 00:14:00 | SAM-7908 | Sample Handler | Sample probe clogged | Warning | EC-93810-001 | 2.8.6 | 33.6 | Aline Prata
2025-03-28 02:32:55 | TEM-6629 | Temperature Control | Cooling system failure | Critical | EC-93810-001 | 4.6.19 | 19.9 | Pablo Neruda
2025-04-02 01:21:50 | RAC-4444 | Rack Handler | Rack sensor failure | Critical | EC-93810-001 | 1.1.10 | 17.2 | Oswaldo Guayasamin
2024-12-20 19:08:21 | POW-7109 | Power Supply | Battery backup failure | Warning | EC-93810-001 | 2.6.20 | 22 | Juan Angola
2025-01-18 05:06:24 | POW-4481 | Power Supply | Voltage fluctuation detected | Info | EC-93810-001 | 4.8.0 | 30.1 | Violeta Parra
2024-10-01 21:55:39 | BAR-8976 | Barcode Reader | Unreadable barcode | Warning | EC-93810-001 | 1.3.16 | 17.5 | Monica Araya
2024-12-06 04:52:07 | BAR-2155 | Barcode Reader | Barcode misalignment | Warning | EC-93810-001 | 2.8.7 | 23.3 | Monica Araya
2025-05-17 21:07:39 | SAM-8244 | Sample Handler | Sample probe clogged | Info | EC-93810-001 | 3.4.7 | 17.9 | Gabriela Mistral
2025-05-27 20:45:03 | RAC-6989 | Rack Handler | Rack not detected | Critical | EC-93810-001 | 4.4.15 | 33.5 | Gabriela Mistral
2025-08-04 03:41:49 | RAC-5923 | Rack Handler | Rack position error | Critical | EC-93810-001 | 2.3.4 | 23.5 | Juan Angola
2025-02-13 11:55:37 | BAR-5774 | Barcode Reader | Barcode misalignment | Critical | EC-93810-001 | 4.0.14 | 16.8 | Juan Angola
2025-07-01 03:55:00 | OPT-6954 | Optics | Wavelength calibration failed | Info | EC-93810-001 | 1.0.8 | 19.3 | Monica Araya
2024-12-19 09:39:58 | SAM-6027 | Sample Handler | Sample not aspirated | Info | EC-93810-001 | 5.2.20 | 19.4 | Juan Angola
2024-10-25 20:42:24 | POW-3197 | Power Supply | Battery backup failure | Info | EC-93810-001 | 5.7.18 | 18.7 | Oswaldo Guayasamin
2024-08-17 00:53:25 | REA-2812 | Reagent Management | Reagent mixing error | Warning | EC-93810-001 | 3.5.4 | 34.2 | Oswaldo Guayasamin
2024-11-03 05:44:21 | BAR-3443 | Barcode Reader | Barcode scanner timeout | Critical | EC-93810-001 | 1.2.10 | 22.4 | Oswaldo Guayasamin
2025-05-16 05:32:22 | REA-6952 | Reagent Management | Reagent expired | Info | EC-93810-001 | 1.8.0 | 16.6 | Violeta Parra
2025-02-11 06:34:08 | SAM-8942 | Sample Handler | Sample not aspirated | Critical | EC-93810-001 | 1.3.1 | 29.9 | Juan Angola
2025-02-09 13:50:26 | POW-9646 | Power Supply | Voltage fluctuation detected | Critical | EC-93810-001 | 1.1.12 | 22.4 | Monica Araya
2024-09-12 02:34:04 | FLU-4972 | Fluidics | Reservoir empty | Warning | EC-93810-001 | 5.6.17 | 24.7 | Monica Araya
2025-07-13 11:07:07 | REA-7873 | Reagent Management | Reagent expired | Warning | EC-93810-001 | 2.9.11 | 23.8 | Pepe Mujica
2025-06-25 23:55:34 | FLU-6617 | Fluidics | Fluid leak detected | Critical | EC-93810-001 | 5.1.9 | 34.2 | Pablo Neruda
2025-05-01 02:57:06 | POW-4714 | Power Supply | Voltage fluctuation detected | Critical | EC-93810-001 | 5.7.15 | 22.8 | Gabriela Mistral
2024-09-02 23:03:57 | OPT-6894 | Optics | Laser alignment error | Critical | EC-93810-001 | 5.1.0 | 29.9 | Eduardo Galeano
2025-01-01 21:33:54 | SAM-5966 | Sample Handler | Sample probe clogged | Warning | EC-93810-001 | 2.7.7 | 19.5 | Pablo Neruda
2025-04-26 19:33:15 | POW-1487 | Power Supply | Power surge detected | Info | EC-93810-001 | 3.7.9 | 15.9 | Violeta Parra
2024-12-17 04:29:06 | OPT-1368 | Optics | Wavelength calibration failed | Warning | EC-93810-001 | 5.3.17 | 24.1 | Pepe Mujica
2025-08-11 15:20:51 | POW-1593 | Power Supply | Power supply overload | Info | EC-93810-001 | 2.2.10 | 28.5 | Violeta Parra
2025-08-05 00:27:47 | RAC-4166 | Rack Handler | Rack sensor failure | Warning | EC-93810-001 | 4.4.12 | 24.1 | Aline Prata
2025-01-24 14:54:31 | REA-5581 | Reagent Management | Reagent bottle missing | Info | EC-93810-001 | 1.7.5 | 22.9 | Pepe Mujica
2025-08-07 08:56:23 | REA-8752 | Reagent Management | Reagent mixing error | Critical | EC-93810-001 | 4.9.9 | 27 | Juan Angola
2025-02-04 12:17:31 | TEM-2292 | Temperature Control | Temperature sensor error | Info | EC-93810-001 | 3.2.7 | 25.9 | Juan Angola
2024-09-25 15:58:45 | REA-5631 | Reagent Management | Reagent expired | Warning | EC-93810-001 | 5.3.2 | 33.5 | Gabriela Mistral
2025-06-22 01:49:37 | SAM-9794 | Sample Handler | Sample not aspirated | Warning | EC-93810-001 | 2.8.7 | 31.8 | Oswaldo Guayasamin
2025-03-05 10:33:31 | REA-8383 | Reagent Management | Reagent level low | Warning | EC-93810-001 | 2.6.16 | 20 | Oswaldo Guayasamin
2025-07-15 10:54:14 | SAM-9566 | Sample Handler | Sample probe alignment error | Critical | EC-93810-001 | 3.8.9 | 20.5 | Juan Angola
2025-01-28 13:46:42 | RAC-9280 | Rack Handler | Rack not detected | Info | EC-93810-001 | 4.7.5 | 24.1 | Pablo Neruda
2025-07-09 10:13:55 | POW-2536 | Power Supply | Power surge detected | Info | EC-93810-001 | 3.4.19 | 16.7 | Gabriela Mistral
2025-06-10 04:00:58 | RAC-9136 | Rack Handler | Rack not detected | Critical | EC-93810-001 | 3.3.15 | 23.4 | Oswaldo Guayasamin
2025-01-01 00:09:24 | BAR-2040 | Barcode Reader | Barcode scanner timeout | Info | EC-93810-001 | 4.1.19 | 16.4 | Juan Angola
2025-03-14 09:54:30 | SAM-7313 | Sample Handler | Sample probe clogged | Critical | EC-93810-001 | 4.9.1 | 23.4 | Monica Araya
2025-06-28 22:50:01 | TEM-4303 | Temperature Control | Temperature sensor error | Critical | EC-93810-001 | 5.7.11 | 24.1 | Pablo Neruda
2025-04-05 12:13:06 | FLU-2278 | Fluidics | Reservoir empty | Warning | EC-93810-001 | 1.2.18 | 22.8 | Gabriela Mistral
2024-10-13 17:22:54 | REA-3194 | Reagent Management | Reagent bottle missing | Critical | EC-93810-001 | 5.3.3 | 18.4 | Mario Benedetti
2025-08-11 05:31:23 | REA-5274 | Reagent Management | Reagent level low | Warning | EC-93810-001 | 2.3.0 | 17.7 | Violeta Parra
2025-07-08 23:06:03 | OPT-6137 | Optics | Optical sensor malfunction | Warning | EC-93810-001 | 4.8.16 | 26.7 | Pablo Neruda
2025-07-29 23:33:19 | TEM-1415 | Temperature Control | Temperature sensor error | Critical | EC-93810-001 | 3.4.13 | 19.3 | Pablo Neruda
2024-11-26 15:50:27 | BAR-5593 | Barcode Reader | Barcode misalignment | Critical | EC-93810-001 | 4.4.9 | 18 | Pepe Mujica
2025-07-01 08:59:22 | OPT-4478 | Optics | Light source intensity low | Info | EC-93810-001 | 2.9.5 | 32.1 | Pepe Mujica
2024-12-23 08:27:38 | FLU-4045 | Fluidics | Flow rate out of range | Critical | EC-93810-001 | 5.5.20 | 24.6 | Eduardo Galeano
2025-03-30 20:20:19 | FLU-5005 | Fluidics | Reservoir empty | Critical | EC-93810-001 | 5.4.4 | 22.2 | Eduardo Galeano
2025-01-24 18:34:41 | POW-5234 | Power Supply | Power supply overload | Critical | EC-93810-001 | 5.5.17 | 18 | Aline Prata
2025-06-15 05:18:47 | OPT-7511 | Optics | Laser alignment error | Critical | EC-93810-001 | 2.0.11 | 17.1 | Pepe Mujica
2025-04-20 14:21:15 | REA-3183 | Reagent Management | Reagent level low | Critical | EC-93810-001 | 2.3.11 | 27.7 | Juan Angola
2024-12-30 11:49:03 | BAR-8705 | Barcode Reader | Barcode checksum mismatch | Warning | EC-93810-001 | 1.1.20 | 24.1 | Gabriela Mistral
2024-11-02 19:22:04 | SAM-4271 | Sample Handler | Sample vial missing | Info | EC-93810-001 | 3.8.19 | 24.2 | Pablo Neruda
2025-04-03 03:54:28 | POW-1601 | Power Supply | Voltage fluctuation detected | Critical | EC-93810-001 | 3.3.12 | 19.3 | Aline Prata
2025-04-29 20:27:26 | FLU-4040 | Fluidics | Pump pressure adjustment needed | Critical | EC-93810-001 | 5.3.17 | 19.5 | Aline Prata
2025-08-06 09:04:13 | FLU-8971 | Fluidics | Reservoir empty | Info | EC-93810-001 | 2.1.10 | 31.4 | Violeta Parra
2025-01-27 14:30:04 | REA-5693 | Reagent Management | Reagent level low | Critical | EC-93810-001 | 2.1.19 | 29.9 | Pepe Mujica
2025-02-11 17:04:58 | TEM-4580 | Temperature Control | Temperature out of range | Warning | EC-93810-001 | 3.9.11 | 20 | Violeta Parra
2025-08-01 06:32:40 | FLU-1412 | Fluidics | Pump pressure adjustment needed | Info | EC-93810-001 | 5.7.5 | 30.1 | Oswaldo Guayasamin
2024-09-25 15:28:49 | OPT-7167 | Optics | Laser alignment error | Warning | EC-93810-001 | 2.2.5 | 22.9 | Pepe Mujica
2025-01-16 22:08:45 | BAR-4158 | Barcode Reader | Barcode misalignment | Info | EC-93810-001 | 3.2.13 | 23.6 | Pepe Mujica
2024-10-17 09:09:39 | TEM-9157 | Temperature Control | Temperature out of range | Info | EC-93810-001 | 2.8.20 | 32.4 | Juan Angola
2024-09-24 16:55:19 | FLU-5595 | Fluidics | Reservoir empty | Warning | EC-93810-001 | 1.7.6 | 23.7 | Violeta Parra
2025-03-25 23:20:34 | OPT-1128 | Optics | Wavelength calibration failed | Info | EC-93810-001 | 2.4.4 | 32.2 | Pepe Mujica
2024-12-10 15:26:43 | OPT-9161 | Optics | Laser alignment error | Critical | EC-93810-001 | 4.0.10 | 26.6 | Oswaldo Guayasamin
2024-12-07 07:50:33 | POW-7313 | Power Supply | Power supply overload | Info | EC-93810-001 | 2.2.0 | 24.4 | Monica Araya
2024-10-30 00:54:15 | TEM-6201 | Temperature Control | Temperature sensor error | Critical | EC-93810-001 | 4.7.17 | 20.6 | Oswaldo Guayasamin
2025-07-18 06:21:08 | FLU-4978 | Fluidics | Flow rate out of range | Warning | EC-93810-001 | 5.3.6 | 17.5 | Pablo Neruda
2025-02-08 07:58:06 | RAC-7647 | Rack Handler | Rack sensor failure | Warning | EC-93810-001 | 3.2.3 | 21.9 | Pablo Neruda
2024-12-08 09:51:15 | BAR-8636 | Barcode Reader | Unreadable barcode | Info | EC-93810-001 | 1.0.18 | 32.7 | Pepe Mujica
2025-07-24 02:08:18 | OPT-3781 | Optics | Laser alignment error | Info | EC-93810-001 | 4.6.16 | 16.4 | Monica Araya
2025-07-14 19:09:47 | FLU-9642 | Fluidics | Fluid leak detected | Warning | EC-93810-001 | 3.2.5 | 33.5 | Juan Angola
2025-02-28 10:41:15 | TEM-9800 | Temperature Control | Heater malfunction | Info | EC-93810-001 | 1.8.6 | 25.8 | Gabriela Mistral
2024-12-11 17:18:25 | SAM-5551 | Sample Handler | Sample probe alignment error | Warning | EC-93810-001 | 3.9.5 | 16.9 | Oswaldo Guayasamin
2024-10-25 00:22:14 | SAM-5859 | Sample Handler | Sample vial missing | Info | EC-93810-001 | 4.7.2 | 29.9 | Monica Araya
2025-08-02 06:19:04 | POW-8432 | Power Supply | Battery backup failure | Info | EC-93810-001 | 2.3.19 | 18.2 | Mario Benedetti
2024-12-01 09:10:23 | SAM-4271 | Sample Handler | Sample not aspirated | Warning | EC-93810-001 | 5.5.9 | 29.3 | Gabriela Mistral
2025-05-21 13:30:00 | FLU-1991 | Fluidics | Reservoir empty | Info | EC-93810-001 | 4.4.19 | 21.4 | Mario Benedetti
2024-12-28 12:43:53 | RAC-6033 | Rack Handler | Rack position error | Warning | EC-93810-001 | 3.0.0 | 18 | Pepe Mujica
2025-06-19 09:30:57 | POW-6251 | Power Supply | Voltage fluctuation detected | Info | EC-93810-001 | 5.4.10 | 26.9 | Violeta Parra
2025-02-13 12:58:02 | BAR-9235 | Barcode Reader | Barcode checksum mismatch | Warning | EC-93810-001 | 1.4.7 | 32.3 | Violeta Parra
2024-11-06 09:39:39 | FLU-2129 | Fluidics | Fluid leak detected | Critical | EC-93810-001 | 1.2.15 | 31.4 | Violeta Parra
2025-01-05 00:34:51 | POW-7797 | Power Supply | Voltage fluctuation detected | Info | EC-93810-001 | 3.2.14 | 15.7 | Aline Prata
2025-04-24 17:27:38 | REA-4032 | Reagent Management | Reagent expired | Info | EC-93810-001 | 3.1.3 | 29.5 | Pablo Neruda
2024-11-05 21:15:20 | FLU-4000 | Fluidics | Fluid leak detected | Info | EC-93810-001 | 2.2.5 | 31 | Mario Benedetti
2025-04-18 08:40:38 | SAM-5102 | Sample Handler | Sample vial missing | Info | EC-93810-001 | 1.1.17 | 21.1 | Gabriela Mistral
2025-02-07 13:49:58 | RAC-8317 | Rack Handler | Rack position error | Warning | EC-93810-001 | 4.4.18 | 29.4 | Pepe Mujica
2025-03-14 12:20:41 | SAM-1667 | Sample Handler | Sample probe alignment error | Critical | EC-93810-001 | 4.2.16 | 18.4 | Pepe Mujica
2025-03-23 05:34:42 | FLU-7315 | Fluidics | Pump pressure adjustment needed | Critical | EC-93810-001 | 2.8.12 | 32.4 | Mario Benedetti
2025-05-28 00:18:43 | REA-7870 | Reagent Management | Reagent expired | Info | EC-93810-001 | 2.1.17 | 32.4 | Mario Benedetti
2025-05-17 11:52:00 | POW-4463 | Power Supply | Power surge detected | Info | EC-93810-001 | 2.8.19 | 24.1 | Violeta Parra
2024-09-16 00:40:49 | POW-6495 | Power Supply | Power surge detected | Critical | EC-93810-001 | 5.4.17 | 27.5 | Oswaldo Guayasamin
2025-05-17 16:49:07 | TEM-2854 | Temperature Control | Heater malfunction | Warning | EC-93810-001 | 1.4.4 | 26.3 | Eduardo Galeano
2024-10-07 18:41:10 | BAR-4208 | Barcode Reader | Barcode scanner timeout | Info | EC-93810-001 | 2.5.2 | 28.6 | Pablo Neruda
2025-02-05 02:56:40 | REA-3391 | Reagent Management | Reagent bottle missing | Critical | EC-93810-001 | 5.4.6 | 17.9 | Pepe Mujica
2024-10-28 11:45:42 | TEM-8149 | Temperature Control | Temperature out of range | Critical | EC-93810-001 | 4.2.12 | 19 | Mario Benedetti
2025-07-31 05:21:46 | SAM-8399 | Sample Handler | Sample probe alignment error | Info | EC-93810-001 | 2.1.12 | 27.3 | Juan Angola
2024-11-13 23:05:17 | SAM-6308 | Sample Handler | Sample not aspirated | Info | EC-93810-001 | 2.2.15 | 33.2 | Gabriela Mistral
2024-10-29 12:38:20 | REA-9498 | Reagent Management | Reagent bottle missing | Warning | EC-93810-001 | 3.1.19 | 23.9 | Aline Prata
2024-12-03 22:00:10 | TEM-1515 | Temperature Control | Temperature out of range | Warning | EC-93810-001 | 2.7.10 | 15.6 | Juan Angola
2024-09-26 20:22:38 | OPT-7384 | Optics | Wavelength calibration failed | Info | EC-93810-001 | 1.3.16 | 28.7 | Monica Araya
2025-03-31 18:02:44 | TEM-9529 | Temperature Control | Temperature sensor error | Info | EC-93810-001 | 3.3.7 | 30.1 | Mario Benedetti
2025-04-17 03:32:42 | RAC-9674 | Rack Handler | Rack position error | Warning | EC-93810-001 | 5.7.16 | 21.5 | Oswaldo Guayasamin
2024-08-17 08:24:16 | RAC-3214 | Rack Handler | Rack not detected | Warning | EC-93810-001 | 5.6.5 | 20.7 | Mario Benedetti
2024-10-07 19:14:39 | RAC-8943 | Rack Handler | Rack motor jammed | Warning | EC-93810-001 | 4.8.13 | 24.4 | Aline Prata
2025-04-15 04:51:50 | BAR-6205 | Barcode Reader | Barcode misalignment | Info | EC-93810-001 | 3.6.6 | 26.1 | Monica Araya
2025-02-13 11:41:00 | SAM-4496 | Sample Handler | Sample vial missing | Warning | EC-93810-001 | 3.0.12 | 31.9 | Monica Araya
2025-01-18 20:57:55 | FLU-6974 | Fluidics | Pump pressure adjustment needed | Warning | EC-93810-001 | 4.0.19 | 20.8 | Pepe Mujica
2024-09-16 04:53:04 | REA-7164 | Reagent Management | Reagent expired | Critical | EC-93810-001 | 2.6.3 | 19.3 | Eduardo Galeano
2024-08-27 17:45:30 | OPT-5281 | Optics | Light source intensity low | Warning | EC-93810-001 | 1.8.3 | 30.8 | Pepe Mujica
2024-08-23 08:03:10 | RAC-7585 | Rack Handler | Rack not detected | Critical | EC-93810-001 | 1.5.20 | 28.8 | Mario Benedetti
2024-12-15 02:59:50 | FLU-6216 | Fluidics | Pump pressure adjustment needed | Warning | EC-93810-001 | 3.8.11 | 17.7 | Eduardo Galeano
2025-08-03 22:10:27 | SAM-4076 | Sample Handler | Sample probe clogged | Critical | EC-93810-001 | 1.9.11 | 34.5 | Monica Araya
2025-07-06 07:30:40 | OPT-1861 | Optics | Laser alignment error | Info | EC-93810-001 | 3.8.20 | 30.9 | Violeta Parra
2024-12-23 11:22:40 | REA-5144 | Reagent Management | Reagent mixing error | Warning | EC-93810-001 | 2.9.19 | 21.1 | Oswaldo Guayasamin
2025-02-04 06:43:42 | RAC-9374 | Rack Handler | Rack position error | Critical | EC-93810-001 | 2.3.17 | 24 | Juan Angola
2024-09-11 23:14:10 | OPT-7006 | Optics | Laser alignment error | Info | EC-93810-001 | 2.0.6 | 18.5 | Gabriela Mistral
2025-05-24 18:36:00 | POW-2957 | Power Supply | Battery backup failure | Critical | EC-93810-001 | 5.7.5 | 15.7 | Pablo Neruda
2024-12-30 12:16:54 | REA-3936 | Reagent Management | Reagent expired | Warning | EC-93810-001 | 1.9.18 | 33.4 | Pepe Mujica
2025-08-03 03:55:39 | TEM-7355 | Temperature Control | Temperature sensor error | Critical | EC-93810-001 | 4.4.14 | 29.9 | Monica Araya
2025-01-21 03:02:45 | REA-5033 | Reagent Management | Reagent level low | Critical | EC-93810-001 | 1.3.2 | 26.6 | Violeta Parra
2025-07-04 17:32:23 | SAM-7157 | Sample Handler | Sample probe alignment error | Critical | EC-93810-001 | 2.9.13 | 33.9 | Mario Benedetti
2025-07-14 18:10:17 | TEM-7527 | Temperature Control | Temperature sensor error | Info | EC-93810-001 | 1.4.3 | 35 | Mario Benedetti
2024-12-03 08:03:27 | REA-1106 | Reagent Management | Reagent mixing error | Warning | EC-93810-001 | 4.6.5 | 27.6 | Aline Prata
2024-12-23 18:57:58 | TEM-1238 | Temperature Control | Temperature sensor error | Warning | EC-93810-001 | 5.9.6 | 19.7 | Pepe Mujica
2024-12-02 12:59:10 | OPT-2151 | Optics | Wavelength calibration failed | Info | EC-93810-001 | 1.7.0 | 29.9 | Juan Angola
2025-04-12 10:36:46 | REA-2583 | Reagent Management | Reagent level low | Warning | EC-93810-001 | 5.1.12 | 15.3 | Eduardo Galeano
2025-01-03 03:09:01 | FLU-4796 | Fluidics | Flow rate out of range | Warning | EC-93810-001 | 2.2.6 | 30.4 | Juan Angola
2025-06-05 13:46:47 | FLU-4234 | Fluidics | Flow rate out of range | Info | EC-93810-001 | 4.5.16 | 34.1 | Aline Prata
2024-12-16 04:59:19 | FLU-5457 | Fluidics | Pump pressure adjustment needed | Critical | EC-93810-001 | 5.4.18 | 21.6 | Oswaldo Guayasamin
2025-07-04 00:10:57 | RAC-3407 | Rack Handler | Rack sensor failure | Info | EC-93810-001 | 5.6.3 | 21.4 | Gabriela Mistral
2024-12-24 12:33:06 | RAC-1086 | Rack Handler | Rack sensor failure | Warning | EC-93810-001 | 2.4.19 | 23.6 | Pablo Neruda
2025-07-19 02:00:10 | RAC-1908 | Rack Handler | Rack sensor failure | Critical | EC-93810-001 | 5.4.10 | 23.6 | Eduardo Galeano
2025-01-16 20:06:47 | BAR-9680 | Barcode Reader | Barcode scanner timeout | Warning | EC-93810-001 | 4.6.20 | 16.6 | Aline Prata
2024-10-09 03:14:46 | FLU-3092 | Fluidics | Pump pressure adjustment needed | Info | EC-93810-001 | 2.1.0 | 22 | Violeta Parra
2025-05-23 20:26:50 | FLU-7373 | Fluidics | Fluid leak detected | Warning | EC-93810-001 | 3.3.2 | 29.5 | Pepe Mujica
2025-03-25 01:12:43 | SAM-7473 | Sample Handler | Sample not aspirated | Warning | EC-93810-001 | 4.0.17 | 28.1 | Violeta Parra
2025-01-22 14:22:56 | SAM-1732 | Sample Handler | Sample probe alignment error | Critical | EC-93810-001 | 1.6.12 | 15.4 | Eduardo Galeano
2025-06-19 07:02:34 | FLU-7807 | Fluidics | Pump pressure adjustment needed | Info | EC-93810-001 | 4.5.5 | 28.8 | Monica Araya
2024-12-04 11:30:40 | OPT-2925 | Optics | Optical sensor malfunction | Critical | EC-93810-001 | 5.4.18 | 23.5 | Violeta Parra
2024-09-18 00:19:31 | BAR-4813 | Barcode Reader | Barcode scanner timeout | Warning | EC-93810-001 | 3.2.8 | 34.8 | Eduardo Galeano
2024-12-30 02:15:02 | TEM-6591 | Temperature Control | Heater malfunction | Warning | EC-93810-001 | 3.6.17 | 23.7 | Mario Benedetti
2025-03-27 03:23:31 | REA-8311 | Reagent Management | Reagent level low | Critical | EC-93810-001 | 2.3.4 | 30.1 | Gabriela Mistral
2025-03-03 12:46:36 | TEM-3810 | Temperature Control | Heater malfunction | Info | EC-93810-001 | 1.1.16 | 17.5 | Aline Prata
2024-10-01 10:43:24 | OPT-8993 | Optics | Wavelength calibration failed | Warning | EC-93810-001 | 1.4.5 | 31.1 | Eduardo Galeano
2024-09-16 23:19:09 | REA-2298 | Reagent Management | Reagent expired | Warning | EC-93810-001 | 1.1.0 | 26.3 | Eduardo Galeano
2025-07-23 09:20:02 | FLU-6025 | Fluidics | Reservoir empty | Warning | EC-93810-001 | 2.9.8 | 16.9 | Aline Prata
2024-11-25 10:31:56 | SAM-5807 | Sample Handler | Sample probe alignment error | Warning | EC-93810-001 | 2.9.14 | 25.8 | Pepe Mujica
2025-07-06 02:36:57 | TEM-4052 | Temperature Control | Cooling system failure | Warning | EC-93810-001 | 3.0.11 | 34.4 | Aline Prata
2025-07-26 09:24:28 | POW-8132 | Power Supply | Voltage fluctuation detected | Critical | EC-93810-001 | 2.6.11 | 25 | Monica Araya
2025-07-24 17:04:30 | TEM-9669 | Temperature Control | Heater malfunction | Warning | EC-93810-001 | 3.2.2 | 22.1 | Eduardo Galeano
2024-09-24 05:26:51 | POW-9332 | Power Supply | Power supply overload | Info | EC-93810-001 | 4.2.11 | 18.4 | Mario Benedetti
2024-12-31 18:24:57 | TEM-3900 | Temperature Control | Temperature sensor error | Critical | EC-93810-001 | 1.7.5 | 31.2 | Juan Angola
2025-07-14 12:38:52 | RAC-1700 | Rack Handler | Rack position error | Warning | EC-93810-001 | 5.4.6 | 24.6 | Gabriela Mistral
2024-11-28 03:21:29 | BAR-8914 | Barcode Reader | Barcode misalignment | Info | EC-93810-001 | 2.4.4 | 20.2 | Pablo Neruda
2024-11-01 09:49:16 | RAC-9981 | Rack Handler | Rack not detected | Critical | EC-93810-001 | 3.2.15 | 18.8 | Gabriela Mistral
2024-08-17 12:48:58 | OPT-4213 | Optics | Optical sensor malfunction | Critical | EC-93810-001 | 5.0.4 | 16.8 | Oswaldo Guayasamin
2025-03-13 01:31:38 | RAC-3257 | Rack Handler | Rack position error | Warning | EC-93810-001 | 4.3.1 | 20.1 | Pepe Mujica
2024-09-02 04:40:32 | SAM-5574 | Sample Handler | Sample probe clogged | Warning | EC-93810-001 | 3.0.5 | 15.3 | Eduardo Galeano
2025-02-02 18:51:22 | SAM-4114 | Sample Handler | Sample vial missing | Critical | EC-93810-001 | 5.7.9 | 21 | Oswaldo Guayasamin
2024-11-23 15:56:17 | OPT-9767 | Optics | Light source intensity low | Critical | EC-93810-001 | 2.0.5 | 18.7 | Juan Angola
2025-06-29 01:20:48 | RAC-3733 | Rack Handler | Rack sensor failure | Info | EC-93810-001 | 4.2.20 | 15.1 | Pepe Mujica
2024-09-05 23:30:33 | RAC-7772 | Rack Handler | Rack sensor failure | Info | EC-93810-001 | 5.1.17 | 32.2 | Monica Araya
2024-12-13 15:32:13 | BAR-2603 | Barcode Reader | Unreadable barcode | Info | EC-93810-001 | 5.4.19 | 29.2 | Monica Araya
2025-05-05 02:05:32 | TEM-2958 | Temperature Control | Temperature sensor error | Warning | EC-93810-001 | 1.6.19 | 25.4 | Gabriela Mistral
2025-06-26 17:01:19 | POW-1400 | Power Supply | Power supply overload | Critical | EC-93810-001 | 5.6.9 | 26 | Oswaldo Guayasamin
2025-05-10 01:01:21 | REA-6748 | Reagent Management | Reagent expired | Info | EC-93810-001 | 5.8.11 | 32.7 | Aline Prata
2025-01-21 21:14:56 | OPT-2767 | Optics | Laser alignment error | Critical | EC-93810-001 | 1.7.6 | 20.2 | Juan Angola
2024-11-07 21:01:22 | REA-1482 | Reagent Management | Reagent mixing error | Info | EC-93810-001 | 2.6.10 | 21.4 | Gabriela Mistral
2024-09-26 10:30:05 | TEM-4719 | Temperature Control | Temperature out of range | Critical | EC-93810-001 | 1.4.0 | 31.3 | Violeta Parra
2024-11-21 06:33:00 | RAC-1497 | Rack Handler | Rack not detected | Info | EC-93810-001 | 1.7.20 | 26.8 | Monica Araya
2024-09-23 02:19:44 | OPT-9408 | Optics | Optical sensor malfunction | Critical | EC-93810-001 | 2.7.3 | 26 | Juan Angola
2025-01-11 20:49:17 | OPT-3485 | Optics | Laser alignment error | Warning | EC-93810-001 | 5.6.14 | 18.6 | Eduardo Galeano
2025-02-02 03:35:14 | OPT-3523 | Optics | Light source intensity low | Critical | EC-93810-001 | 3.6.8 | 19.8 | Aline Prata
2025-08-08 12:50:03 | RAC-2632 | Rack Handler | Rack position error | Warning | EC-93810-001 | 4.9.2 | 21.1 | Pepe Mujica
2025-04-13 11:11:00 | RAC-7376 | Rack Handler | Rack position error | Critical | EC-93810-001 | 1.7.19 | 30.2 | Juan Angola
2024-11-09 02:49:08 | REA-3936 | Reagent Management | Reagent level low | Warning | EC-93810-001 | 1.6.11 | 31.4 | Violeta Parra
2024-12-29 01:24:27 | POW-8713 | Power Supply | Power surge detected | Critical | EC-93810-001 | 4.4.5 | 15.9 | Pablo Neruda
2024-10-05 02:46:22 | FLU-8770 | Fluidics | Pump pressure adjustment needed | Critical | EC-93810-001 | 1.2.19 | 27.6 | Oswaldo Guayasamin
2024-09-05 16:42:07 | POW-6160 | Power Supply | Battery backup failure | Critical | EC-93810-001 | 2.9.6 | 19.8 | Eduardo Galeano
2025-03-27 16:05:35 | TEM-9197 | Temperature Control | Temperature out of range | Warning | EC-93810-001 | 4.7.11 | 22.5 | Eduardo Galeano
2024-09-19 05:07:35 | FLU-6204 | Fluidics | Fluid leak detected | Critical | EC-93810-001 | 1.3.2 | 28.1 | Pablo Neruda
2025-03-18 12:21:49 | OPT-8114 | Optics | Light source intensity low | Info | EC-93810-001 | 4.6.14 | 21.2 | Juan Angola
2025-04-28 03:20:45 | SAM-9872 | Sample Handler | Sample probe alignment error | Warning | EC-93810-001 | 1.6.3 | 15.9 | Pablo Neruda
2025-07-12 05:24:30 | OPT-8661 | Optics | Laser alignment error | Warning | EC-93810-001 | 3.4.17 | 34.5 | Gabriela Mistral
2025-04-07 18:40:17 | RAC-7542 | Rack Handler | Rack not detected | Info | EC-93810-001 | 2.6.9 | 21.8 | Aline Prata
2025-07-01 22:41:46 | RAC-9550 | Rack Handler | Rack not detected | Info | EC-93810-001 | 3.4.14 | 33 | Gabriela Mistral
2024-12-25 07:33:32 | TEM-9047 | Temperature Control | Temperature out of range | Critical | EC-93810-001 | 4.3.18 | 21.6 | Eduardo Galeano
2025-01-02 17:00:22 | TEM-4824 | Temperature Control | Temperature sensor error | Info | EC-93810-001 | 2.3.13 | 26.1 | Aline Prata
2024-11-15 07:16:44 | FLU-1818 | Fluidics | Flow rate out of range | Info | EC-93810-001 | 3.0.15 | 28.1 | Violeta Parra
2025-05-13 17:00:44 | RAC-3852 | Rack Handler | Rack motor jammed | Info | EC-93810-001 | 1.9.4 | 26.8 | Mario Benedetti
2025-07-03 12:48:11 | OPT-8029 | Optics | Laser alignment error | Info | EC-93810-001 | 5.6.16 | 15.2 | Pepe Mujica
2024-08-17 13:26:04 | POW-6060 | Power Supply | Voltage fluctuation detected | Critical | EC-93810-001 | 3.6.3 | 31.2 | Aline Prata
2024-09-01 01:46:06 | REA-8347 | Reagent Management | Reagent expired | Critical | EC-93810-001 | 5.9.12 | 24.4 | Pablo Neruda
2025-02-25 09:38:58 | POW-3252 | Power Supply | Battery backup failure | Warning | EC-93810-001 | 1.4.11 | 23.1 | Aline Prata
2025-06-02 02:52:25 | SAM-2370 | Sample Handler | Sample probe clogged | Warning | EC-93810-001 | 5.0.3 | 21.1 | Mario Benedetti
2025-01-31 20:48:30 | BAR-2399 | Barcode Reader | Unreadable barcode | Info | EC-93810-001 | 3.9.4 | 34.2 | Eduardo Galeano
2025-04-29 08:32:45 | POW-4900 | Power Supply | Power supply overload | Warning | EC-93810-001 | 3.9.5 | 30.2 | Oswaldo Guayasamin
2025-05-02 10:24:40 | POW-6236 | Power Supply | Battery backup failure | Info | EC-93810-001 | 3.7.5 | 23.5 | Eduardo Galeano
2025-03-08 11:54:55 | POW-3128 | Power Supply | Power supply overload | Info | EC-93810-001 | 4.6.8 | 34.1 | Pepe Mujica
2025-07-21 14:54:30 | BAR-3878 | Barcode Reader | Barcode misalignment | Critical | EC-93810-001 | 4.6.5 | 16 | Gabriela Mistral
2025-01-23 19:16:56 | REA-2479 | Reagent Management | Reagent expired | Warning | EC-93810-001 | 3.4.12 | 24 | Violeta Parra
2025-01-09 03:10:40 | TEM-2413 | Temperature Control | Cooling system failure | Critical | EC-93810-001 | 5.2.0 | 26.5 | Monica Araya
2025-03-21 23:11:27 | FLU-6782 | Fluidics | Pump pressure adjustment needed | Warning | EC-93810-001 | 2.7.18 | 28.3 | Pablo Neruda
2025-03-21 02:58:15 | OPT-7531 | Optics | Light source intensity low | Info | EC-93810-001 | 5.7.1 | 26 | Monica Araya
2025-07-13 16:57:24 | FLU-3236 | Fluidics | Pump pressure adjustment needed | Critical | EC-93810-001 | 5.4.18 | 34.6 | Gabriela Mistral
2025-02-04 09:42:04 | OPT-4455 | Optics | Laser alignment error | Info | EC-93810-001 | 2.4.17 | 18.2 | Eduardo Galeano
2025-02-12 09:13:20 | BAR-7316 | Barcode Reader | Barcode checksum mismatch | Info | EC-93810-001 | 1.1.16 | 19.1 | Juan Angola
2025-05-08 22:46:05 | BAR-4520 | Barcode Reader | Barcode scanner timeout | Critical | EC-93810-001 | 3.0.13 | 19.5 | Juan Angola
2025-02-10 18:09:48 | REA-9062 | Reagent Management | Reagent expired | Warning | EC-93810-001 | 5.9.18 | 26.6 | Mario Benedetti
2024-09-07 05:07:35 | SAM-2386 | Sample Handler | Sample probe alignment error | Warning | EC-93810-001 | 2.6.8 | 23.6 | Pepe Mujica
2024-10-04 10:02:11 | OPT-7684 | Optics | Wavelength calibration failed | Critical | EC-93810-001 | 3.2.16 | 17.9 | Pepe Mujica
2024-12-29 11:13:58 | RAC-9344 | Rack Handler | Rack position error | Info | EC-93810-001 | 2.1.10 | 30.3 | Pablo Neruda
2025-02-15 06:56:25 | POW-4282 | Power Supply | Voltage fluctuation detected | Critical | EC-93810-001 | 4.4.3 | 23 | Aline Prata
2025-05-12 10:34:48 | SAM-5314 | Sample Handler | Sample probe alignment error | Warning | EC-93810-001 | 1.1.18 | 16.4 | Oswaldo Guayasamin
2025-04-30 15:53:34 | TEM-1517 | Temperature Control | Heater malfunction | Critical | EC-93810-001 | 3.8.11 | 24.9 | Pepe Mujica
2025-08-01 21:23:42 | POW-7081 | Power Supply | Power surge detected | Info | EC-93810-001 | 3.0.13 | 17 | Juan Angola
2024-12-24 12:16:32 | SAM-6652 | Sample Handler | Sample probe clogged | Warning | EC-93810-001 | 2.4.11 | 15.5 | Pepe Mujica
2025-03-29 08:58:45 | RAC-1803 | Rack Handler | Rack motor jammed | Critical | EC-93810-001 | 2.3.16 | 20.6 | Pablo Neruda
2024-12-14 15:32:50 | REA-6919 | Reagent Management | Reagent expired | Critical | EC-93810-001 | 2.9.20 | 31.5 | Aline Prata
2025-07-21 23:03:31 | POW-4780 | Power Supply | Power supply overload | Warning | EC-93810-001 | 5.5.14 | 19.6 | Gabriela Mistral
2024-09-12 20:38:10 | TEM-3582 | Temperature Control | Cooling system failure | Warning | EC-93810-001 | 3.5.7 | 28.2 | Gabriela Mistral
2025-01-08 12:36:10 | SAM-2067 | Sample Handler | Sample probe clogged | Warning | EC-93810-001 | 3.1.8 | 33.8 | Pablo Neruda
2024-12-08 04:57:38 | POW-9003 | Power Supply | Battery backup failure | Info | EC-93810-001 | 3.9.17 | 24.9 | Pablo Neruda
2025-03-09 19:26:40 | FLU-1042 | Fluidics | Reservoir empty | Warning | EC-93810-001 | 5.7.6 | 18.3 | Monica Araya
2025-01-11 13:19:45 | RAC-5097 | Rack Handler | Rack position error | Warning | EC-93810-001 | 3.0.11 | 25.6 | Monica Araya
2025-01-01 15:31:24 | OPT-7561 | Optics | Laser alignment error | Info | EC-93810-001 | 3.1.11 | 17.7 | Eduardo Galeano
2025-05-21 13:37:44 | FLU-4617 | Fluidics | Flow rate out of range | Warning | EC-93810-001 | 1.0.20 | 34.3 | Monica Araya
2024-12-07 23:35:55 | SAM-9518 | Sample Handler | Sample vial missing | Critical | EC-93810-001 | 2.0.16 | 18.3 | Juan Angola
2024-10-14 05:29:51 | SAM-8459 | Sample Handler | Sample vial missing | Warning | EC-93810-001 | 2.3.0 | 28.4 | Pepe Mujica
2025-03-20 02:39:24 | BAR-4993 | Barcode Reader | Unreadable barcode | Critical | EC-93810-001 | 1.2.8 | 25.2 | Gabriela Mistral
2025-02-22 04:33:12 | SAM-9888 | Sample Handler | Sample vial missing | Warning | EC-93810-001 | 3.3.0 | 15.3 | Pepe Mujica
2024-10-05 23:08:00 | POW-5842 | Power Supply | Power surge detected | Info | EC-93810-001 | 5.2.8 | 34.7 | Oswaldo Guayasamin
2025-02-07 10:08:02 | REA-9974 | Reagent Management | Reagent mixing error | Warning | EC-93810-001 | 1.3.10 | 31.2 | Pepe Mujica
2024-11-09 14:59:06 | SAM-4102 | Sample Handler | Sample probe clogged | Critical | EC-93810-001 | 5.9.15 | 34.1 | Oswaldo Guayasamin
2024-11-14 21:34:35 | TEM-9296 | Temperature Control | Heater malfunction | Info | EC-93810-001 | 5.8.7 | 15.1 | Aline Prata
2025-02-15 12:53:34 | RAC-5319 | Rack Handler | Rack motor jammed | Info | EC-93810-001 | 4.3.0 | 32.9 | Gabriela Mistral
2025-05-26 01:30:02 | POW-6837 | Power Supply | Battery backup failure | Critical | EC-93810-001 | 4.0.8 | 29 | Monica Araya
2025-03-06 08:31:59 | TEM-6633 | Temperature Control | Cooling system failure | Info | EC-93810-001 | 1.4.7 | 26.9 | Mario Benedetti
2024-09-11 00:32:59 | SAM-5625 | Sample Handler | Sample probe clogged | Critical | EC-93810-001 | 3.6.19 | 20.6 | Gabriela Mistral
2025-01-17 10:34:00 | FLU-7879 | Fluidics | Flow rate out of range | Info | EC-93810-001 | 5.4.3 | 26.3 | Violeta Parra
2025-04-05 18:12:19 | RAC-6933 | Rack Handler | Rack position error | Info | EC-93810-001 | 3.6.19 | 33.1 | Mario Benedetti
2024-11-15 15:12:24 | FLU-8494 | Fluidics | Fluid leak detected | Warning | EC-93810-001 | 3.7.14 | 15.8 | Eduardo Galeano
2024-09-06 03:28:56 | BAR-3397 | Barcode Reader | Barcode scanner timeout | Critical | EC-93810-001 | 1.1.6 | 20.3 | Pepe Mujica
2025-07-10 14:18:58 | TEM-7377 | Temperature Control | Temperature sensor error | Critical | EC-93810-001 | 3.6.1 | 30.1 | Mario Benedetti
2024-12-17 17:49:47 | BAR-1363 | Barcode Reader | Barcode scanner timeout | Warning | EC-93810-001 | 2.6.19 | 28.9 | Pepe Mujica
2025-07-20 18:37:40 | OPT-4532 | Optics | Light source intensity low | Warning | EC-93810-001 | 2.0.3 | 27.9 | Gabriela Mistral
2024-10-11 15:12:36 | RAC-3338 | Rack Handler | Rack sensor failure | Info | EC-93810-001 | 4.6.14 | 18.7 | Eduardo Galeano
2025-06-14 04:19:12 | TEM-3464 | Temperature Control | Temperature sensor error | Info | EC-93810-001 | 2.5.3 | 29.7 | Eduardo Galeano
2024-09-25 16:57:30 | BAR-2856 | Barcode Reader | Barcode scanner timeout | Critical | EC-93810-001 | 1.3.18 | 15.3 | Eduardo Galeano
2024-08-25 10:04:39 | SAM-6119 | Sample Handler | Sample probe alignment error | Critical | EC-93810-001 | 4.5.8 | 21.6 | Mario Benedetti
2025-07-17 22:13:20 | FLU-4892 | Fluidics | Fluid leak detected | Critical | EC-93810-001 | 1.5.20 | 31.9 | Aline Prata
2024-11-14 02:49:25 | TEM-6120 | Temperature Control | Heater malfunction | Info | EC-93810-001 | 2.1.13 | 33.7 | Pablo Neruda
2025-04-06 05:54:07 | REA-7126 | Reagent Management | Reagent bottle missing | Warning | EC-93810-001 | 1.9.9 | 34 | Monica Araya
2025-05-25 00:45:21 | BAR-4893 | Barcode Reader | Barcode checksum mismatch | Warning | EC-93810-001 | 2.4.9 | 20.3 | Oswaldo Guayasamin
2025-05-13 17:06:41 | TEM-3440 | Temperature Control | Heater malfunction | Info | EC-93810-001 | 1.1.18 | 24.3 | Monica Araya
2024-09-21 00:03:09 | BAR-4001 | Barcode Reader | Barcode misalignment | Warning | EC-93810-001 | 4.0.3 | 22.5 | Pablo Neruda
2024-10-29 13:10:35 | REA-6492 | Reagent Management | Reagent mixing error | Critical | EC-93810-001 | 2.4.20 | 22.6 | Eduardo Galeano
2025-08-04 09:39:14 | TEM-6535 | Temperature Control | Temperature sensor error | Warning | EC-93810-001 | 4.7.0 | 32.1 | Gabriela Mistral
2025-05-28 20:49:03 | POW-3168 | Power Supply | Voltage fluctuation detected | Critical | EC-93810-001 | 4.1.3 | 33.1 | Oswaldo Guayasamin
2025-04-15 23:15:47 | RAC-2324 | Rack Handler | Rack motor jammed | Critical | EC-93810-001 | 5.6.18 | 27.1 | Gabriela Mistral
2025-05-22 08:11:07 | BAR-6012 | Barcode Reader | Barcode misalignment | Warning | EC-93810-001 | 3.1.11 | 20.9 | Pepe Mujica
2025-08-01 17:50:56 | RAC-3846 | Rack Handler | Rack position error | Info | EC-93810-001 | 5.1.19 | 26.5 | Juan Angola
2024-08-23 06:55:25 | OPT-1763 | Optics | Wavelength calibration failed | Info | EC-93810-001 | 5.9.7 | 29.2 | Aline Prata
2024-11-29 09:12:33 | POW-5449 | Power Supply | Voltage fluctuation detected | Warning | EC-93810-001 | 1.1.13 | 31.1 | Gabriela Mistral
2024-09-07 05:16:55 | REA-1104 | Reagent Management | Reagent level low | Critical | EC-93810-001 | 3.8.18 | 19 | Aline Prata
2024-12-25 07:38:01 | FLU-8087 | Fluidics | Flow rate out of range | Warning | EC-93810-001 | 4.9.11 | 18.9 | Eduardo Galeano
2024-12-10 19:58:10 | RAC-5331 | Rack Handler | Rack position error | Info | EC-93810-001 | 2.5.3 | 21.9 | Monica Araya
2025-07-02 01:58:25 | OPT-5691 | Optics | Wavelength calibration failed | Info | EC-93810-001 | 4.1.4 | 22.8 | Juan Angola
2025-06-18 00:51:10 | BAR-2235 | Barcode Reader | Barcode misalignment | Info | EC-93810-001 | 1.7.19 | 32.2 | Eduardo Galeano
2025-03-29 13:59:45 | BAR-9252 | Barcode Reader | Barcode misalignment | Warning | EC-93810-001 | 2.8.2 | 17.9 | Oswaldo Guayasamin
2025-07-03 18:28:21 | FLU-2546 | Fluidics | Pump pressure adjustment needed | Warning | EC-93810-001 | 4.4.2 | 33.9 | Aline Prata
2025-05-27 12:21:26 | TEM-2880 | Temperature Control | Temperature out of range | Info | EC-93810-001 | 2.2.9 | 20.3 | Eduardo Galeano
2025-08-01 19:18:45 | TEM-4539 | Temperature Control | Heater malfunction | Info | EC-93810-001 | 4.0.20 | 32.5 | Oswaldo Guayasamin
2024-12-13 15:47:30 | SAM-6370 | Sample Handler | Sample not aspirated | Info | EC-93810-001 | 1.9.1 | 29.8 | Pablo Neruda
2024-09-26 00:49:20 | REA-5002 | Reagent Management | Reagent bottle missing | Critical | EC-93810-001 | 2.3.1 | 16.5 | Gabriela Mistral
2025-06-03 23:44:23 | POW-5364 | Power Supply | Voltage fluctuation detected | Info | EC-93810-001 | 3.5.10 | 31.4 | Violeta Parra
2025-04-13 03:33:03 | BAR-5867 | Barcode Reader | Barcode misalignment | Warning | EC-93810-001 | 3.2.10 | 32.4 | Aline Prata
2024-11-08 07:19:45 | BAR-1060 | Barcode Reader | Unreadable barcode | Critical | EC-93810-001 | 2.9.16 | 15.7 | Eduardo Galeano
2024-12-07 03:32:57 | POW-2502 | Power Supply | Power supply overload | Info | EC-93810-001 | 5.4.7 | 30.9 | Eduardo Galeano
2025-02-05 04:47:48 | BAR-6558 | Barcode Reader | Unreadable barcode | Warning | EC-93810-001 | 3.6.5 | 22.7 | Violeta Parra
2024-08-24 05:29:25 | OPT-6102 | Optics | Wavelength calibration failed | Warning | EC-93810-001 | 1.7.0 | 15.8 | Violeta Parra
2025-06-20 08:43:53 | POW-9804 | Power Supply | Power surge detected | Warning | EC-93810-001 | 5.2.6 | 22.1 | Mario Benedetti
2025-02-06 11:06:32 | OPT-4891 | Optics | Optical sensor malfunction | Info | EC-93810-001 | 4.9.8 | 31.3 | Violeta Parra
2025-04-22 01:57:38 | SAM-8627 | Sample Handler | Sample not aspirated | Info | EC-93810-001 | 1.4.13 | 17.3 | Pepe Mujica
2025-07-01 06:50:49 | RAC-6786 | Rack Handler | Rack sensor failure | Warning | EC-93810-001 | 1.6.15 | 17.8 | Gabriela Mistral
2025-05-26 13:56:46 | RAC-4942 | Rack Handler | Rack not detected | Critical | EC-93810-001 | 3.3.12 | 29 | Gabriela Mistral
2024-09-02 02:04:09 | POW-4525 | Power Supply | Power surge detected | Critical | EC-93810-001 | 5.8.5 | 25.2 | Monica Araya
2025-06-21 01:14:28 | POW-7595 | Power Supply | Battery backup failure | Info | EC-93810-001 | 3.3.9 | 18.6 | Mario Benedetti
2024-12-31 18:42:19 | OPT-4049 | Optics | Light source intensity low | Info | EC-93810-001 | 2.9.19 | 34.5 | Mario Benedetti
2025-05-26 08:35:03 | FLU-6051 | Fluidics | Fluid leak detected | Info | EC-93810-001 | 2.8.10 | 26.5 | Juan Angola
2024-12-08 23:02:08 | TEM-2616 | Temperature Control | Temperature sensor error | Warning | EC-93810-001 | 4.4.18 | 16.5 | Gabriela Mistral
2025-01-11 04:54:42 | POW-3214 | Power Supply | Power supply overload | Warning | EC-93810-001 | 2.5.7 | 28.6 | Mario Benedetti
2025-07-30 23:22:54 | POW-1629 | Power Supply | Battery backup failure | Warning | EC-93810-001 | 1.8.14 | 23.8 | Mario Benedetti
2025-04-15 18:10:26 | SAM-6689 | Sample Handler | Sample probe clogged | Critical | EC-93810-001 | 4.6.10 | 26.7 | Eduardo Galeano
2025-07-25 15:12:33 | POW-9751 | Power Supply | Power supply overload | Critical | EC-93810-001 | 2.8.7 | 26.3 | Gabriela Mistral
2025-01-28 03:44:18 | POW-7788 | Power Supply | Power supply overload | Info | EC-93810-001 | 2.7.5 | 26.7 | Monica Araya
2025-06-19 19:15:08 | FLU-9639 | Fluidics | Pump pressure adjustment needed | Critical | EC-93810-001 | 1.7.11 | 19.6 | Oswaldo Guayasamin
2025-07-10 07:24:31 | BAR-9131 | Barcode Reader | Barcode checksum mismatch | Critical | EC-93810-001 | 1.9.16 | 19.5 | Oswaldo Guayasamin
2025-01-26 12:23:37 | TEM-9869 | Temperature Control | Temperature sensor error | Critical | EC-93810-001 | 3.6.13 | 26.6 | Pablo Neruda
2025-06-04 13:28:10 | FLU-1319 | Fluidics | Fluid leak detected | Critical | EC-93810-001 | 2.0.17 | 21.1 | Pablo Neruda
2025-03-12 08:15:23 | REA-3017 | Reagent Management | Reagent expired | Critical | EC-93810-001 | 4.5.11 | 30.3 | Mario Benedetti
2025-04-16 05:55:13 | SAM-7523 | Sample Handler | Sample vial missing | Info | EC-93810-001 | 1.5.2 | 21.1 | Mario Benedetti
2025-07-10 23:38:30 | OPT-1001 | Optics | Laser alignment error | Info | EC-93810-001 | 2.2.15 | 31.8 | Gabriela Mistral
2024-10-12 23:07:24 | REA-6614 | Reagent Management | Reagent mixing error | Warning | EC-93810-001 | 1.7.10 | 23.2 | Pepe Mujica
2025-06-07 06:16:01 | SAM-1385 | Sample Handler | Sample not aspirated | Warning | EC-93810-001 | 5.5.0 | 21.5 | Violeta Parra
2024-11-20 18:01:57 | SAM-6781 | Sample Handler | Sample vial missing | Critical | EC-93810-001 | 5.2.17 | 18.1 | Pepe Mujica
2025-02-21 05:33:38 | POW-4708 | Power Supply | Power surge detected | Warning | EC-93810-001 | 3.7.2 | 26.2 | Violeta Parra
2024-11-09 08:42:12 | SAM-3584 | Sample Handler | Sample probe alignment error | Critical | EC-93810-001 | 3.1.2 | 19.5 | Violeta Parra
2024-10-22 21:16:24 | FLU-6611 | Fluidics | Flow rate out of range | Info | EC-93810-001 | 5.7.14 | 20.8 | Juan Angola
2024-09-03 06:49:35 | REA-1924 | Reagent Management | Reagent expired | Info | EC-93810-001 | 2.4.16 | 33 | Pepe Mujica
2024-09-10 13:03:30 | SAM-6733 | Sample Handler | Sample probe clogged | Warning | EC-93810-001 | 4.3.17 | 18.3 | Monica Araya
2025-03-28 19:39:45 | POW-7646 | Power Supply | Voltage fluctuation detected | Critical | EC-93810-001 | 5.7.16 | 16.7 | Eduardo Galeano
2025-08-13 13:43:22 | OPT-3018 | Optics | Wavelength calibration failed | Info | EC-93810-001 | 4.7.17 | 18.5 | Aline Prata
2024-12-10 23:48:37 | TEM-5327 | Temperature Control | Heater malfunction | Critical | EC-93810-001 | 4.6.8 | 26.7 | Pablo Neruda
2024-11-01 16:19:04 | RAC-8199 | Rack Handler | Rack motor jammed | Critical | EC-93810-001 | 4.1.2 | 26.6 | Violeta Parra
2025-06-17 19:37:52 | REA-8725 | Reagent Management | Reagent expired | Warning | EC-93810-001 | 3.0.1 | 23.1 | Pepe Mujica
2025-04-02 12:14:59 | POW-2114 | Power Supply | Voltage fluctuation detected | Warning | EC-93810-001 | 2.1.18 | 27.2 | Oswaldo Guayasamin
2025-01-29 11:18:36 | RAC-8509 | Rack Handler | Rack position error | Warning | EC-93810-001 | 2.1.13 | 30.6 | Pablo Neruda
2024-10-11 07:19:26 | RAC-7463 | Rack Handler | Rack motor jammed | Info | EC-93810-001 | 4.8.18 | 34.7 | Pablo Neruda
2025-07-31 12:02:17 | OPT-8392 | Optics | Light source intensity low | Warning | EC-93810-001 | 1.8.19 | 26.3 | Oswaldo Guayasamin
2024-08-22 01:50:22 | RAC-5826 | Rack Handler | Rack sensor failure | Info | EC-93810-001 | 3.4.5 | 18.2 | Oswaldo Guayasamin
2024-10-10 12:03:46 | TEM-9914 | Temperature Control | Cooling system failure | Critical | EC-93810-001 | 4.0.19 | 27.1 | Juan Angola
2025-06-30 21:57:24 | POW-8887 | Power Supply | Power supply overload | Critical | EC-93810-001 | 4.8.3 | 16.2 | Mario Benedetti
2025-07-07 00:54:50 | REA-5376 | Reagent Management | Reagent mixing error | Critical | EC-93810-001 | 3.5.18 | 28.7 | Pablo Neruda
2024-10-11 09:02:25 | BAR-9083 | Barcode Reader | Barcode misalignment | Warning | EC-93810-001 | 4.5.1 | 32.5 | Gabriela Mistral
2025-06-05 15:06:09 | REA-2045 | Reagent Management | Reagent level low | Critical | EC-93810-001 | 1.4.17 | 32.9 | Aline Prata
2025-05-12 13:13:12 | POW-6107 | Power Supply | Battery backup failure | Info | EC-93810-001 | 5.3.11 | 21.9 | Monica Araya
2024-11-16 05:33:45 | SAM-8466 | Sample Handler | Sample probe clogged | Info | EC-93810-001 | 1.7.5 | 31.2 | Mario Benedetti
2024-10-15 11:42:01 | TEM-9300 | Temperature Control | Cooling system failure | Critical | EC-93810-001 | 5.1.14 | 22.9 | Pepe Mujica
2025-07-07 13:47:57 | REA-3736 | Reagent Management | Reagent level low | Warning | EC-93810-001 | 3.8.12 | 16.9 | Pepe Mujica
2025-05-04 12:25:32 | SAM-5122 | Sample Handler | Sample vial missing | Critical | EC-93810-001 | 3.5.8 | 21.2 | Aline Prata
2025-03-02 23:17:08 | OPT-5590 | Optics | Light source intensity low | Warning | EC-93810-001 | 2.9.2 | 27.3 | Gabriela Mistral
2025-07-10 08:11:56 | SAM-3663 | Sample Handler | Sample not aspirated | Critical | EC-93810-001 | 2.0.7 | 30.1 | Aline Prata
2024-09-03 02:56:23 | RAC-1090 | Rack Handler | Rack position error | Info | EC-93810-001 | 3.4.5 | 27.1 | Oswaldo Guayasamin
2025-07-07 23:21:35 | POW-4584 | Power Supply | Power supply overload | Critical | EC-93810-001 | 5.5.13 | 28.9 | Mario Benedetti
2024-09-10 18:24:53 | FLU-9539 | Fluidics | Fluid leak detected | Warning | EC-93810-001 | 2.5.7 | 21.4 | Monica Araya
2025-05-05 19:19:31 | OPT-2454 | Optics | Laser alignment error | Info | EC-93810-001 | 4.1.19 | 17.3 | Pablo Neruda
2025-04-17 10:18:12 | FLU-8046 | Fluidics | Reservoir empty | Critical | EC-93810-001 | 2.9.3 | 33.4 | Juan Angola
2024-08-23 08:31:37 | TEM-9116 | Temperature Control | Temperature out of range | Warning | EC-93810-001 | 5.9.8 | 24.4 | Pepe Mujica
2024-11-22 13:17:25 | OPT-2453 | Optics | Laser alignment error | Info | EC-93810-001 | 5.7.5 | 24.1 | Juan Angola
2025-01-02 16:53:15 | OPT-8763 | Optics | Wavelength calibration failed | Warning | EC-93810-001 | 5.6.17 | 23.7 | Monica Araya
2025-06-28 22:45:31 | RAC-7356 | Rack Handler | Rack position error | Warning | EC-93810-001 | 2.0.10 | 23.9 | Juan Angola
2025-03-31 07:00:31 | SAM-4153 | Sample Handler | Sample not aspirated | Info | EC-93810-001 | 5.8.19 | 22.4 | Violeta Parra
2024-10-07 15:38:35 | POW-6693 | Power Supply | Power surge detected | Warning | EC-93810-001 | 1.7.9 | 21 | Pepe Mujica
2025-05-18 13:50:36 | BAR-9543 | Barcode Reader | Barcode scanner timeout | Critical | EC-93810-001 | 2.4.17 | 23.7 | Aline Prata
2024-12-16 04:24:39 | RAC-4383 | Rack Handler | Rack sensor failure | Critical | EC-93810-001 | 5.9.11 | 18.9 | Monica Araya
2025-01-16 13:47:19 | FLU-7771 | Fluidics | Flow rate out of range | Info | EC-93810-001 | 2.7.17 | 33.5 | Aline Prata
2025-05-03 01:11:23 | POW-6663 | Power Supply | Power supply overload | Critical | EC-93810-001 | 3.8.13 | 18.3 | Aline Prata
2024-12-02 06:47:36 | OPT-8270 | Optics | Optical sensor malfunction | Critical | EC-93810-001 | 2.5.17 | 28.1 | Pepe Mujica
2025-01-01 04:05:23 | FLU-9565 | Fluidics | Flow rate out of range | Critical | EC-93810-001 | 2.8.6 | 17.2 | Oswaldo Guayasamin
2025-03-27 01:13:42 | OPT-2088 | Optics | Wavelength calibration failed | Info | EC-93810-001 | 1.3.4 | 24.9 | Pepe Mujica
2025-03-02 04:15:41 | RAC-8749 | Rack Handler | Rack sensor failure | Critical | EC-93810-001 | 4.1.11 | 28 | Monica Araya
2025-03-17 02:01:37 | RAC-9383 | Rack Handler | Rack motor jammed | Critical | EC-93810-001 | 4.8.10 | 24.5 | Monica Araya
2025-06-20 03:49:56 | SAM-9003 | Sample Handler | Sample probe alignment error | Warning | EC-93810-001 | 4.5.6 | 22 | Pablo Neruda
2025-03-31 11:37:08 | TEM-7420 | Temperature Control | Temperature sensor error | Warning | EC-93810-001 | 2.5.11 | 24.6 | Mario Benedetti
2025-08-08 10:22:34 | FLU-3586 | Fluidics | Flow rate out of range | Warning | EC-93810-001 | 2.5.5 | 21.2 | Pepe Mujica
2025-06-14 04:17:43 | OPT-6847 | Optics | Laser alignment error | Critical | EC-93810-001 | 1.8.13 | 21 | Pablo Neruda
2024-11-01 11:23:41 | SAM-4577 | Sample Handler | Sample not aspirated | Warning | EC-93810-001 | 3.3.12 | 19.5 | Monica Araya
2024-10-14 01:43:35 | REA-9212 | Reagent Management | Reagent expired | Critical | EC-93810-001 | 2.4.11 | 16.1 | Oswaldo Guayasamin
2025-03-11 15:54:02 | OPT-9291 | Optics | Light source intensity low | Critical | EC-93810-001 | 3.7.16 | 18.3 | Mario Benedetti
2025-07-21 00:45:21 | SAM-9469 | Sample Handler | Sample probe clogged | Warning | EC-93810-001 | 3.9.8 | 22.5 | Pablo Neruda
2024-12-25 10:05:02 | RAC-6985 | Rack Handler | Rack position error | Critical | EC-93810-001 | 2.7.14 | 17.7 | Juan Angola
2024-10-13 06:55:09 | OPT-4510 | Optics | Optical sensor malfunction | Critical | EC-93810-001 | 4.5.7 | 21.9 | Violeta Parra
2024-08-17 11:29:44 | POW-5069 | Power Supply | Power surge detected | Warning | EC-93810-001 | 5.6.7 | 27.2 | Gabriela Mistral
2025-04-22 07:37:22 | SAM-8205 | Sample Handler | Sample not aspirated | Critical | EC-93810-001 | 3.0.9 | 30 | Aline Prata
2025-04-02 11:53:11 | REA-9452 | Reagent Management | Reagent mixing error | Critical | EC-93810-001 | 4.0.18 | 28.3 | Aline Prata
2025-03-11 05:56:13 | OPT-1634 | Optics | Laser alignment error | Critical | EC-93810-001 | 3.3.1 | 18.1 | Gabriela Mistral
2024-08-23 16:00:37 | REA-4827 | Reagent Management | Reagent level low | Info | EC-93810-001 | 3.2.0 | 16.5 | Juan Angola
2025-04-07 07:12:52 | REA-1757 | Reagent Management | Reagent level low | Info | EC-93810-001 | 3.6.12 | 18.6 | Mario Benedetti
2025-06-18 06:41:09 | OPT-2663 | Optics | Laser alignment error | Info | EC-93810-001 | 1.2.1 | 18.7 | Mario Benedetti
2024-10-29 14:24:58 | REA-7228 | Reagent Management | Reagent mixing error | Warning | EC-93810-001 | 5.1.5 | 34.7 | Oswaldo Guayasamin
2025-03-03 04:35:09 | BAR-4469 | Barcode Reader | Barcode misalignment | Critical | EC-93810-001 | 3.5.8 | 25.6 | Pepe Mujica
2025-06-25 12:48:17 | POW-8998 | Power Supply | Power surge detected | Info | EC-93810-001 | 3.0.4 | 29.1 | Oswaldo Guayasamin
2025-02-02 08:15:21 | TEM-1965 | Temperature Control | Temperature out of range | Critical | EC-93810-001 | 1.8.19 | 31.5 | Juan Angola
2024-12-04 08:30:55 | REA-7160 | Reagent Management | Reagent bottle missing | Info | EC-93810-001 | 5.6.4 | 27.2 | Pablo Neruda
2025-04-07 02:54:26 | RAC-5156 | Rack Handler | Rack sensor failure | Warning | EC-93810-001 | 3.4.9 | 24.3 | Monica Araya
2025-01-30 23:37:49 | BAR-1608 | Barcode Reader | Barcode checksum mismatch | Info | EC-93810-001 | 1.0.10 | 26.5 | Eduardo Galeano
2025-04-02 05:14:23 | RAC-1288 | Rack Handler | Rack not detected | Critical | EC-93810-001 | 2.8.5 | 15.7 | Pablo Neruda
2025-03-02 10:29:32 | RAC-3280 | Rack Handler | Rack not detected | Info | EC-93810-001 | 3.9.4 | 15.7 | Pepe Mujica
2025-06-20 08:43:41 | POW-5251 | Power Supply | Power supply overload | Critical | EC-93810-001 | 2.9.7 | 19.3 | Oswaldo Guayasamin
2025-02-08 17:43:18 | BAR-4704 | Barcode Reader | Unreadable barcode | Info | EC-93810-001 | 1.0.6 | 22 | Violeta Parra
2025-03-11 01:13:58 | OPT-8421 | Optics | Laser alignment error | Info | EC-93810-001 | 3.1.0 | 22.7 | Mario Benedetti
2024-10-23 03:07:19 | BAR-2504 | Barcode Reader | Unreadable barcode | Warning | EC-93810-001 | 3.3.6 | 25.5 | Pepe Mujica
2025-03-29 11:59:34 | FLU-5324 | Fluidics | Pump pressure adjustment needed | Info | EC-93810-001 | 4.7.16 | 28.3 | Oswaldo Guayasamin
2025-05-25 21:39:02 | OPT-5127 | Optics | Light source intensity low | Warning | EC-93810-001 | 2.1.5 | 30.7 | Aline Prata
2024-10-18 00:19:21 | POW-1558 | Power Supply | Voltage fluctuation detected | Warning | EC-93810-001 | 1.6.17 | 33.7 | Juan Angola
2024-09-23 19:02:17 | BAR-7871 | Barcode Reader | Barcode misalignment | Warning | EC-93810-001 | 3.6.5 | 33.4 | Pablo Neruda
2025-04-26 20:03:41 | FLU-9998 | Fluidics | Pump pressure adjustment needed | Warning | EC-93810-001 | 3.5.18 | 21 | Pablo Neruda
2025-02-06 00:21:45 | OPT-7781 | Optics | Wavelength calibration failed | Info | EC-93810-001 | 3.4.15 | 28.7 | Pablo Neruda
2024-12-20 06:25:50 | FLU-7261 | Fluidics | Fluid leak detected | Info | EC-93810-001 | 2.7.5 | 19.5 | Violeta Parra
2024-10-17 07:02:48 | OPT-3999 | Optics | Wavelength calibration failed | Critical | EC-93810-001 | 1.8.5 | 34.3 | Pepe Mujica
2025-05-23 14:53:45 | RAC-1931 | Rack Handler | Rack motor jammed | Info | EC-93810-001 | 1.2.14 | 31.2 | Pablo Neruda
2024-12-08 08:29:44 | RAC-9300 | Rack Handler | Rack motor jammed | Critical | EC-93810-001 | 1.7.4 | 23.6 | Mario Benedetti
2024-12-29 10:18:09 | BAR-1458 | Barcode Reader | Barcode checksum mismatch | Critical | EC-93810-001 | 4.2.15 | 29.7 | Pepe Mujica
2024-09-28 13:07:14 | REA-6772 | Reagent Management | Reagent bottle missing | Warning | EC-93810-001 | 1.3.6 | 27.9 | Gabriela Mistral
2024-12-05 15:58:42 | RAC-2755 | Rack Handler | Rack sensor failure | Info | EC-93810-001 | 4.2.10 | 22.5 | Aline Prata
2024-08-17 17:40:52 | TEM-3001 | Temperature Control | Temperature out of range | Warning | EC-93810-001 | 2.6.15 | 16.6 | Eduardo Galeano
2025-03-17 11:26:04 | BAR-1846 | Barcode Reader | Unreadable barcode | Critical | EC-93810-001 | 3.9.8 | 22.3 | Mario Benedetti
2025-06-30 09:48:16 | TEM-7139 | Temperature Control | Heater malfunction | Info | EC-93810-001 | 1.8.0 | 23.1 | Pablo Neruda
2025-08-07 20:49:47 | FLU-7833 | Fluidics | Reservoir empty | Info | EC-93810-001 | 3.9.13 | 21.7 | Pepe Mujica
2025-03-11 07:04:33 | RAC-1840 | Rack Handler | Rack motor jammed | Critical | EC-93810-001 | 1.5.13 | 25.7 | Oswaldo Guayasamin
2025-04-24 07:41:54 | POW-9947 | Power Supply | Power surge detected | Critical | EC-93810-001 | 2.9.14 | 34.2 | Monica Araya
2024-09-03 03:48:07 | TEM-2360 | Temperature Control | Temperature sensor error | Critical | EC-93810-001 | 2.8.11 | 17 | Aline Prata
2024-08-31 05:47:46 | RAC-4089 | Rack Handler | Rack not detected | Warning | EC-93810-001 | 3.7.6 | 31 | Monica Araya
2024-10-12 02:58:23 | REA-3435 | Reagent Management | Reagent mixing error | Info | EC-93810-001 | 4.5.2 | 25.1 | Monica Araya
2024-08-16 19:25:15 | BAR-7336 | Barcode Reader | Barcode misalignment | Warning | EC-93810-001 | 5.5.2 | 20.2 | Gabriela Mistral
2025-04-11 16:15:33 | POW-7502 | Power Supply | Power supply overload | Warning | EC-93810-001 | 4.7.4 | 18.3 | Pepe Mujica
2024-11-17 22:02:00 | SAM-6097 | Sample Handler | Sample not aspirated | Warning | EC-93810-001 | 4.8.12 | 32.3 | Pablo Neruda
2024-10-10 10:43:03 | POW-9924 | Power Supply | Power supply overload | Critical | EC-93810-001 | 5.6.7 | 30.8 | Gabriela Mistral
2025-05-22 01:38:58 | RAC-1409 | Rack Handler | Rack sensor failure | Warning | EC-93810-001 | 3.7.10 | 21.7 | Pepe Mujica
2024-09-30 05:56:20 | REA-6715 | Reagent Management | Reagent expired | Warning | EC-93810-001 | 5.0.7 | 21.6 | Juan Angola
2024-11-21 04:48:50 | REA-7077 | Reagent Management | Reagent mixing error | Critical | EC-93810-001 | 2.8.19 | 29.1 | Oswaldo Guayasamin
2024-10-24 18:21:48 | POW-8419 | Power Supply | Voltage fluctuation detected | Critical | EC-93810-001 | 1.9.18 | 19.7 | Aline Prata
2025-04-18 13:21:22 | SAM-4335 | Sample Handler | Sample vial missing | Critical | EC-93810-001 | 1.6.19 | 28.8 | Aline Prata
2024-10-24 19:40:30 | TEM-4717 | Temperature Control | Cooling system failure | Warning | EC-93810-001 | 3.9.15 | 19.7 | Aline Prata
2025-02-20 17:24:35 | RAC-7672 | Rack Handler | Rack sensor failure | Info | EC-93810-001 | 3.7.18 | 28.2 | Pablo Neruda
2025-03-05 14:44:45 | RAC-9560 | Rack Handler | Rack position error | Info | EC-93810-001 | 4.3.12 | 28.6 | Aline Prata
2025-04-24 13:51:58 | TEM-5474 | Temperature Control | Temperature sensor error | Critical | EC-93810-001 | 1.1.8 | 27.4 | Gabriela Mistral
2024-12-24 10:21:12 | BAR-3313 | Barcode Reader | Barcode checksum mismatch | Critical | EC-93810-001 | 5.1.10 | 30.7 | Mario Benedetti
2025-03-24 17:14:40 | OPT-7969 | Optics | Laser alignment error | Warning | EC-93810-001 | 5.2.6 | 31.5 | Juan Angola
2025-05-29 04:19:43 | FLU-3542 | Fluidics | Flow rate out of range | Info | EC-93810-001 | 1.3.10 | 22 | Aline Prata
2024-12-15 07:24:10 | POW-4678 | Power Supply | Voltage fluctuation detected | Warning | EC-93810-001 | 5.7.12 | 32 | Eduardo Galeano
2025-04-20 08:13:36 | BAR-9036 | Barcode Reader | Barcode scanner timeout | Warning | EC-93810-001 | 2.1.15 | 32.9 | Aline Prata
2025-05-21 01:22:16 | RAC-2570 | Rack Handler | Rack sensor failure | Info | EC-93810-001 | 2.7.16 | 31.9 | Oswaldo Guayasamin
2025-07-04 07:31:02 | TEM-4710 | Temperature Control | Temperature sensor error | Warning | EC-93810-001 | 4.9.3 | 15.2 | Aline Prata
2025-07-12 22:57:30 | FLU-1180 | Fluidics | Flow rate out of range | Warning | EC-93810-001 | 5.3.10 | 31.3 | Oswaldo Guayasamin
2025-04-20 19:34:25 | TEM-4211 | Temperature Control | Cooling system failure | Critical | EC-93810-001 | 4.8.2 | 23.6 | Pepe Mujica
2024-11-09 02:11:27 | TEM-9689 | Temperature Control | Heater malfunction | Warning | EC-93810-001 | 3.8.18 | 15.6 | Oswaldo Guayasamin
2025-03-21 14:23:36 | SAM-9590 | Sample Handler | Sample probe clogged | Warning | EC-93810-001 | 4.2.14 | 29.9 | Pepe Mujica
2024-11-06 22:22:16 | FLU-6728 | Fluidics | Pump pressure adjustment needed | Critical | EC-93810-001 | 1.4.3 | 18.6 | Pepe Mujica
2024-08-23 00:28:49 | TEM-7623 | Temperature Control | Temperature sensor error | Critical | EC-93810-001 | 4.5.0 | 20.1 | Pablo Neruda
2025-03-18 02:12:45 | SAM-3056 | Sample Handler | Sample vial missing | Critical | EC-93810-001 | 1.2.6 | 25.6 | Aline Prata
2024-10-04 20:26:33 | OPT-3400 | Optics | Wavelength calibration failed | Info | EC-93810-001 | 4.7.18 | 33.6 | Pablo Neruda
2024-09-14 16:08:23 | BAR-6270 | Barcode Reader | Unreadable barcode | Info | EC-93810-001 | 5.9.20 | 30.2 | Gabriela Mistral
2024-10-22 09:11:05 | SAM-7685 | Sample Handler | Sample probe clogged | Warning | EC-93810-001 | 3.1.5 | 29 | Mario Benedetti
2025-07-06 12:40:39 | OPT-1603 | Optics | Laser alignment error | Critical | EC-93810-001 | 5.7.9 | 15.9 | Pepe Mujica
2025-06-12 07:49:19 | RAC-7368 | Rack Handler | Rack sensor failure | Info | EC-93810-001 | 5.9.19 | 28.1 | Aline Prata
2025-02-18 06:45:14 | SAM-8603 | Sample Handler | Sample not aspirated | Warning | EC-93810-001 | 4.5.9 | 27.6 | Pepe Mujica
2025-03-30 11:49:54 | RAC-5156 | Rack Handler | Rack not detected | Warning | EC-93810-001 | 3.1.16 | 21.3 | Pablo Neruda
2024-09-04 11:35:07 | POW-2088 | Power Supply | Battery backup failure | Warning | EC-93810-001 | 1.7.3 | 26.9 | Oswaldo Guayasamin
2025-01-22 14:58:53 | RAC-5094 | Rack Handler | Rack position error | Critical | EC-93810-001 | 4.0.2 | 24 | Aline Prata
2024-12-01 08:57:26 | BAR-9643 | Barcode Reader | Barcode checksum mismatch | Critical | EC-93810-001 | 4.8.13 | 22 | Violeta Parra
2024-09-23 16:01:31 | TEM-4335 | Temperature Control | Temperature out of range | Warning | EC-93810-001 | 2.3.18 | 34.4 | Eduardo Galeano
2025-02-25 10:03:33 | POW-7897 | Power Supply | Power supply overload | Warning | EC-93810-001 | 4.4.12 | 23.3 | Oswaldo Guayasamin
2024-12-29 21:09:10 | POW-1198 | Power Supply | Battery backup failure | Warning | EC-93810-001 | 4.3.7 | 23.6 | Mario Benedetti
2024-10-18 18:01:31 | POW-4190 | Power Supply | Battery backup failure | Warning | EC-93810-001 | 5.0.3 | 25 | Gabriela Mistral
2024-08-31 06:42:08 | RAC-2902 | Rack Handler | Rack not detected | Warning | EC-93810-001 | 2.5.13 | 16.2 | Juan Angola
2025-06-29 07:51:45 | SAM-4852 | Sample Handler | Sample vial missing | Warning | EC-93810-001 | 5.9.7 | 33.4 | Aline Prata